## MaxScale
Brug Arduino til aflæsning: |  |  | [3 523 534]= [time ms, højre, venstre]
GM - GAME MODE
| Sensor R |  | Sensor L
| ADC | gram | ADC | gram
Offset | 131 | 0 | 132 | 0 | Write down offset, this will be affected if screws are tightened/loosened.
MaxScale | 992 | 2625 | 1022 | 2625 | Put a relevant weight on the sensor, and adjust gain function screw untill ADC reaches maximum
100g test | 992 | 2625 | 1022 | 2625 | To test sensitivity, put approx. 100g on the sensor and see how much the ADC changes
MM - MAX MODE
| Sensor R |  | Sensor L
| ADC | gram | ADC | gram
Offset | 131 | 0 | 132 | 0 | Write down offset, this will be affected if screws are tightened/loosened.
MaxScale |  | 14600 |  | 14600 | Put a relevant weight on the sensor, and adjust gain function screw untill ADC reaches maximum
(Ana did MM cali in okt)

## L1-GM
GM - GAME MODE
Sensor L1/venstre |  |  | DATE: | 2022-11-25 | WHO: | Magnus
ADC | gram
123 | 0
143 | 125
153 | 250
180 | 375
212 | 500
234 | 625
268 | 750
290 | 875
331 | 1000
395 | 1250
485 | 1500
539 | 1750
605 | 2000
652 | 2125
710 | 2325
777 | 2525
834 | 2725
887 | 2925
949 | 3125
895 | 2925
842 | 2725
793 | 2525
739 | 2325
676 | 2125
643 | 2000
576 | 1750
488 | 1500
428 | 1250
362 | 1000
319 | 875
275 | 750
249 | 625
216 | 500
178 | 375
168 | 250
144 | 125
123 | 0
AFTER HAVING DONE THE CALIBRATION, THEN A 5th ORDER POLYNOMIAL SHOULD BE FITTED TO THE CURVE. THIS EQUATION SHOULD THEN BE USED TO CREATE AN ARRAY OF LENGHT 1022, WITH ADC VALUE 0-1022 AS X, SEE BELOW. CHECK FOR TYPOS BY CHECKING THAT THE POL. EQUATION ARE THE SAME FOR THE TWO GRAPHS.
Calibrering
ADC | gram
0 | -1229.7 | Y = 2.4134E-11x5 - 6.9823E-08x4 + 7.7785E-05x3 - 4.1583E-02x2 + 1.4118E+01x - 1.2297E+03
1 | -1215.6235
2 | -1201.6297
3 | -1187.7182
4 | -1173.8884
5 | -1160.1399
6 | -1146.4723
7 | -1132.8851
8 | -1119.3778
9 | -1105.95
10 | -1092.6012
11 | -1079.331
12 | -1066.139
13 | -1053.0246
14 | -1039.9875
15 | -1027.0272
16 | -1014.1432
17 | -1001.3351
18 | -988.6025
19 | -975.945
20 | -963.362
21 | -950.8532
22 | -938.4181
23 | -926.0564
24 | -913.7675
25 | -901.551
26 | -889.4066
27 | -877.3337
28 | -865.332
29 | -853.4011
30 | -841.5405
31 | -829.7498
32 | -818.0285
33 | -806.3764
34 | -794.7929
35 | -783.2777
36 | -771.8302
37 | -760.4503
38 | -749.1373
39 | -737.891
40 | -726.7108
41 | -715.5965
42 | -704.5476
43 | -693.5637
44 | -682.6444
45 | -671.7893
46 | -660.998
47 | -650.2702
48 | -639.6053
49 | -629.0032
50 | -618.4632
51 | -607.9852
52 | -597.5686
53 | -587.2131
54 | -576.9183
55 | -566.6839
56 | -556.5094
57 | -546.3945
58 | -536.3387
59 | -526.3418
60 | -516.4034
61 | -506.523
62 | -496.7003
63 | -486.935
64 | -477.2266
65 | -467.5749
66 | -457.9793
67 | -448.4397
68 | -438.9555
69 | -429.5265
70 | -420.1523
71 | -410.8326
72 | -401.5669
73 | -392.3549
74 | -383.1964
75 | -374.0908
76 | -365.0379
77 | -356.0374
78 | -347.0888
79 | -338.1918
80 | -329.3461
81 | -320.5514
82 | -311.8073
83 | -303.1135
84 | -294.4695
85 | -285.8752
86 | -277.3301
87 | -268.8339
88 | -260.3863
89 | -251.987
90 | -243.6356
91 | -235.3318
92 | -227.0753
93 | -218.8657
94 | -210.7027
95 | -202.586
96 | -194.5153
97 | -186.4903
98 | -178.5106
99 | -170.5759
100 | -162.686
101 | -154.8404
102 | -147.0389
103 | -139.2811
104 | -131.5669
105 | -123.8957
106 | -116.2674
107 | -108.6817
108 | -101.1381
109 | -93.6365
110 | -86.1766
111 | -78.7579
112 | -71.3803
113 | -64.0434
114 | -56.7469
115 | -49.4906
116 | -42.2741
117 | -35.0971
118 | -27.9594
119 | -20.8607
120 | -13.8007
121 | -6.779
122 | 0.20451
123 | 7.1502
124 | 14.0584
125 | 20.9293
126 | 27.7633
127 | 34.5605
128 | 41.3214
129 | 48.0461
130 | 54.7349
131 | 61.3881
132 | 68.006
133 | 74.5889
134 | 81.1369
135 | 87.6505
136 | 94.1298
137 | 100.5752
138 | 106.9868
139 | 113.365
140 | 119.71
141 | 126.0221
142 | 132.3015
143 | 138.5485
144 | 144.7634
145 | 150.9463
146 | 157.0977
147 | 163.2176
148 | 169.3064
149 | 175.3644
150 | 181.3917
151 | 187.3886
152 | 193.3554
153 | 199.2922
154 | 205.1995
155 | 211.0773
156 | 216.926
157 | 222.7458
158 | 228.5369
159 | 234.2995
160 | 240.034
161 | 245.7405
162 | 251.4192
163 | 257.0705
164 | 262.6945
165 | 268.2915
166 | 273.8616
167 | 279.4052
168 | 284.9225
169 | 290.4136
170 | 295.8788
171 | 301.3184
172 | 306.7325
173 | 312.1214
174 | 317.4853
175 | 322.8244
176 | 328.139
177 | 333.4291
178 | 338.6952
179 | 343.9374
180 | 349.1558
181 | 354.3508
182 | 359.5224
183 | 364.6711
184 | 369.7968
185 | 374.8999
186 | 379.9805
187 | 385.039
188 | 390.0753
189 | 395.0899
190 | 400.0828
191 | 405.0543
192 | 410.0046
193 | 414.9338
194 | 419.8422
195 | 424.73
196 | 429.5973
197 | 434.4444
198 | 439.2714
199 | 444.0786
200 | 448.8661
201 | 453.6341
202 | 458.3828
203 | 463.1125
204 | 467.8232
205 | 472.5152
206 | 477.1887
207 | 481.8438
208 | 486.4807
209 | 491.0996
210 | 495.7007
211 | 500.2841
212 | 504.8502
213 | 509.3989
214 | 513.9305
215 | 518.4452
216 | 522.9431
217 | 527.4245
218 | 531.8894
219 | 536.3381
220 | 540.7707
221 | 545.1874
222 | 549.5884
223 | 553.9738
224 | 558.3438
225 | 562.6986
226 | 567.0382
227 | 571.363
228 | 575.673
229 | 579.9685
230 | 584.2495
231 | 588.5162
232 | 592.7688
233 | 597.0075
234 | 601.2323
235 | 605.4435
236 | 609.6412
237 | 613.8256
238 | 617.9967
239 | 622.1549
240 | 626.3001
241 | 630.4326
242 | 634.5524
243 | 638.6599
244 | 642.755
245 | 646.838
246 | 650.9089
247 | 654.968
248 | 659.0153
249 | 663.0511
250 | 667.0754
251 | 671.0884
252 | 675.0902
253 | 679.0809
254 | 683.0608
255 | 687.0299
256 | 690.9884
257 | 694.9363
258 | 698.8739
259 | 702.8013
260 | 706.7185
261 | 710.6258
262 | 714.5232
263 | 718.4109
264 | 722.289
265 | 726.1576
266 | 730.0169
267 | 733.867
268 | 737.7079
269 | 741.5399
270 | 745.3631
271 | 749.1775
272 | 752.9832
273 | 756.7805
274 | 760.5694
275 | 764.3501
276 | 768.1226
277 | 771.887
278 | 775.6436
279 | 779.3923
280 | 783.1334
281 | 786.8668
282 | 790.5928
283 | 794.3115
284 | 798.0228
285 | 801.7271
286 | 805.4243
287 | 809.1146
288 | 812.798
289 | 816.4747
290 | 820.1449
291 | 823.8085
292 | 827.4656
293 | 831.1165
294 | 834.7612
295 | 838.3998
296 | 842.0323
297 | 845.6589
298 | 849.2797
299 | 852.8948
300 | 856.5043
301 | 860.1083
302 | 863.7068
303 | 867.2999
304 | 870.8879
305 | 874.4706
306 | 878.0483
307 | 881.621
308 | 885.1888
309 | 888.7519
310 | 892.3102
311 | 895.8638
312 | 899.413
313 | 902.9577
314 | 906.498
315 | 910.034
316 | 913.5658
317 | 917.0935
318 | 920.6172
319 | 924.1369
320 | 927.6527
321 | 931.1647
322 | 934.673
323 | 938.1777
324 | 941.6788
325 | 945.1764
326 | 948.6706
327 | 952.1614
328 | 955.649
329 | 959.1333
330 | 962.6146
331 | 966.0928
332 | 969.568
333 | 973.0403
334 | 976.5098
335 | 979.9765
336 | 983.4405
337 | 986.9019
338 | 990.3607
339 | 993.8169
340 | 997.2708
341 | 1000.7223
342 | 1004.1715
343 | 1007.6184
344 | 1011.0632
345 | 1014.5058
346 | 1017.9464
347 | 1021.3849
348 | 1024.8216
349 | 1028.2563
350 | 1031.6893
351 | 1035.1204
352 | 1038.5499
353 | 1041.9777
354 | 1045.404
355 | 1048.8287
356 | 1052.2519
357 | 1055.6737
358 | 1059.0941
359 | 1062.5131
360 | 1065.9309
361 | 1069.3475
362 | 1072.763
363 | 1076.1773
364 | 1079.5905
365 | 1083.0027
366 | 1086.414
367 | 1089.8243
368 | 1093.2337
369 | 1096.6423
370 | 1100.0502
371 | 1103.4573
372 | 1106.8637
373 | 1110.2694
374 | 1113.6745
375 | 1117.0791
376 | 1120.4832
377 | 1123.8867
378 | 1127.2899
379 | 1130.6926
380 | 1134.095
381 | 1137.497
382 | 1140.8988
383 | 1144.3003
384 | 1147.7016
385 | 1151.1028
386 | 1154.5038
387 | 1157.9047
388 | 1161.3056
389 | 1164.7064
390 | 1168.1073
391 | 1171.5082
392 | 1174.9091
393 | 1178.3102
394 | 1181.7114
395 | 1185.1128
396 | 1188.5144
397 | 1191.9162
398 | 1195.3183
399 | 1198.7207
400 | 1202.1234
401 | 1205.5264
402 | 1208.9298
403 | 1212.3336
404 | 1215.7379
405 | 1219.1426
406 | 1222.5478
407 | 1225.9535
408 | 1229.3598
409 | 1232.7666
410 | 1236.1739
411 | 1239.5819
412 | 1242.9905
413 | 1246.3998
414 | 1249.8097
415 | 1253.2204
416 | 1256.6317
417 | 1260.0438
418 | 1263.4566
419 | 1266.8702
420 | 1270.2846
421 | 1273.6998
422 | 1277.1158
423 | 1280.5327
424 | 1283.9505
425 | 1287.3691
426 | 1290.7886
427 | 1294.2091
428 | 1297.6305
429 | 1301.0528
430 | 1304.476
431 | 1307.9003
432 | 1311.3255
433 | 1314.7518
434 | 1318.179
435 | 1321.6073
436 | 1325.0366
437 | 1328.4669
438 | 1331.8983
439 | 1335.3308
440 | 1338.7644
441 | 1342.199
442 | 1345.6348
443 | 1349.0717
444 | 1352.5096
445 | 1355.9487
446 | 1359.389
447 | 1362.8304
448 | 1366.2729
449 | 1369.7166
450 | 1373.1614
451 | 1376.6074
452 | 1380.0546
453 | 1383.503
454 | 1386.9525
455 | 1390.4033
456 | 1393.8552
457 | 1397.3083
458 | 1400.7626
459 | 1404.2182
460 | 1407.6749
461 | 1411.1328
462 | 1414.592
463 | 1418.0524
464 | 1421.5139
465 | 1424.9767
466 | 1428.4407
467 | 1431.906
468 | 1435.3724
469 | 1438.8401
470 | 1442.3089
471 | 1445.779
472 | 1449.2503
473 | 1452.7228
474 | 1456.1965
475 | 1459.6715
476 | 1463.1476
477 | 1466.6249
478 | 1470.1035
479 | 1473.5832
480 | 1477.0641
481 | 1480.5462
482 | 1484.0295
483 | 1487.514
484 | 1490.9996
485 | 1494.4865
486 | 1497.9744
487 | 1501.4636
488 | 1504.9539
489 | 1508.4453
490 | 1511.9379
491 | 1515.4317
492 | 1518.9265
493 | 1522.4225
494 | 1525.9196
495 | 1529.4177
496 | 1532.917
497 | 1536.4174
498 | 1539.9189
499 | 1543.4214
500 | 1546.925
501 | 1550.4297
502 | 1553.9353
503 | 1557.4421
504 | 1560.9498
505 | 1564.4586
506 | 1567.9684
507 | 1571.4792
508 | 1574.9909
509 | 1578.5037
510 | 1582.0174
511 | 1585.532
512 | 1589.0476
513 | 1592.5642
514 | 1596.0816
515 | 1599.6
516 | 1603.1192
517 | 1606.6393
518 | 1610.1603
519 | 1613.6822
520 | 1617.2049
521 | 1620.7284
522 | 1624.2527
523 | 1627.7779
524 | 1631.3038
525 | 1634.8305
526 | 1638.358
527 | 1641.8862
528 | 1645.4151
529 | 1648.9448
530 | 1652.4752
531 | 1656.0063
532 | 1659.538
533 | 1663.0704
534 | 1666.6035
535 | 1670.1372
536 | 1673.6715
537 | 1677.2064
538 | 1680.7419
539 | 1684.2779
540 | 1687.8145
541 | 1691.3517
542 | 1694.8893
543 | 1698.4275
544 | 1701.9662
545 | 1705.5053
546 | 1709.0449
547 | 1712.5849
548 | 1716.1254
549 | 1719.6662
550 | 1723.2075
551 | 1726.7491
552 | 1730.2911
553 | 1733.8334
554 | 1737.3761
555 | 1740.919
556 | 1744.4622
557 | 1748.0057
558 | 1751.5495
559 | 1755.0935
560 | 1758.6377
561 | 1762.1821
562 | 1765.7267
563 | 1769.2714
564 | 1772.8163
565 | 1776.3614
566 | 1779.9065
567 | 1783.4517
568 | 1786.9971
569 | 1790.5424
570 | 1794.0878
571 | 1797.6333
572 | 1801.1787
573 | 1804.7241
574 | 1808.2695
575 | 1811.8148
576 | 1815.3601
577 | 1818.9053
578 | 1822.4504
579 | 1825.9953
580 | 1829.5401
581 | 1833.0848
582 | 1836.6293
583 | 1840.1736
584 | 1843.7176
585 | 1847.2615
586 | 1850.8051
587 | 1854.3484
588 | 1857.8914
589 | 1861.4341
590 | 1864.9765
591 | 1868.5186
592 | 1872.0603
593 | 1875.6017
594 | 1879.1426
595 | 1882.6831
596 | 1886.2233
597 | 1889.7629
598 | 1893.3021
599 | 1896.8408
600 | 1900.379
601 | 1903.9167
602 | 1907.4539
603 | 1910.9905
604 | 1914.5266
605 | 1918.062
606 | 1921.5969
607 | 1925.1311
608 | 1928.6647
609 | 1932.1977
610 | 1935.7299
611 | 1939.2615
612 | 1942.7924
613 | 1946.3226
614 | 1949.852
615 | 1953.3807
616 | 1956.9086
617 | 1960.4357
618 | 1963.962
619 | 1967.4875
620 | 1971.0122
621 | 1974.536
622 | 1978.0589
623 | 1981.581
624 | 1985.1022
625 | 1988.6224
626 | 1992.1418
627 | 1995.6602
628 | 1999.1776
629 | 2002.6941
630 | 2006.2096
631 | 2009.7241
632 | 2013.2376
633 | 2016.75
634 | 2020.2614
635 | 2023.7718
636 | 2027.281
637 | 2030.7892
638 | 2034.2964
639 | 2037.8024
640 | 2041.3072
641 | 2044.811
642 | 2048.3136
643 | 2051.815
644 | 2055.3153
645 | 2058.8144
646 | 2062.3122
647 | 2065.8089
648 | 2069.3044
649 | 2072.7986
650 | 2076.2916
651 | 2079.7834
652 | 2083.2739
653 | 2086.7631
654 | 2090.251
655 | 2093.7376
656 | 2097.223
657 | 2100.707
658 | 2104.1897
659 | 2107.6711
660 | 2111.1511
661 | 2114.6298
662 | 2118.1071
663 | 2121.5831
664 | 2125.0576
665 | 2128.5309
666 | 2132.0027
667 | 2135.4731
668 | 2138.9421
669 | 2142.4098
670 | 2145.876
671 | 2149.3408
672 | 2152.8041
673 | 2156.266
674 | 2159.7265
675 | 2163.1856
676 | 2166.6432
677 | 2170.0993
678 | 2173.554
679 | 2177.0073
680 | 2180.459
681 | 2183.9093
682 | 2187.3582
683 | 2190.8055
684 | 2194.2514
685 | 2197.6958
686 | 2201.1387
687 | 2204.5802
688 | 2208.0201
689 | 2211.4586
690 | 2214.8956
691 | 2218.3311
692 | 2221.7652
693 | 2225.1977
694 | 2228.6288
695 | 2232.0584
696 | 2235.4865
697 | 2238.9131
698 | 2242.3382
699 | 2245.7619
700 | 2249.1841
701 | 2252.6048
702 | 2256.0241
703 | 2259.4419
704 | 2262.8582
705 | 2266.2731
706 | 2269.6865
707 | 2273.0985
708 | 2276.5091
709 | 2279.9182
710 | 2283.3259
711 | 2286.7322
712 | 2290.1371
713 | 2293.5405
714 | 2296.9426
715 | 2300.3433
716 | 2303.7426
717 | 2307.1405
718 | 2310.5371
719 | 2313.9323
720 | 2317.3262
721 | 2320.7188
722 | 2324.11
723 | 2327.4999
724 | 2330.8885
725 | 2334.2759
726 | 2337.662
727 | 2341.0468
728 | 2344.4304
729 | 2347.8127
730 | 2351.1938
731 | 2354.5737
732 | 2357.9525
733 | 2361.33
734 | 2364.7065
735 | 2368.0817
736 | 2371.4559
737 | 2374.8289
738 | 2378.2009
739 | 2381.5718
740 | 2384.9417
741 | 2388.3105
742 | 2391.6783
743 | 2395.0451
744 | 2398.411
745 | 2401.7759
746 | 2405.1399
747 | 2408.503
748 | 2411.8652
749 | 2415.2266
750 | 2418.5871
751 | 2421.9468
752 | 2425.3058
753 | 2428.6639
754 | 2432.0214
755 | 2435.3781
756 | 2438.7342
757 | 2442.0896
758 | 2445.4444
759 | 2448.7985
760 | 2452.1522
761 | 2455.5052
762 | 2458.8578
763 | 2462.2099
764 | 2465.5615
765 | 2468.9128
766 | 2472.2636
767 | 2475.6141
768 | 2478.9643
769 | 2482.3141
770 | 2485.6638
771 | 2489.0132
772 | 2492.3624
773 | 2495.7115
774 | 2499.0605
775 | 2502.4094
776 | 2505.7583
777 | 2509.1072
778 | 2512.4561
779 | 2515.8051
780 | 2519.1542
781 | 2522.5035
782 | 2525.853
783 | 2529.2027
784 | 2532.5527
785 | 2535.903
786 | 2539.2537
787 | 2542.6049
788 | 2545.9564
789 | 2549.3085
790 | 2552.6612
791 | 2556.0144
792 | 2559.3683
793 | 2562.7229
794 | 2566.0782
795 | 2569.4343
796 | 2572.7912
797 | 2576.149
798 | 2579.5078
799 | 2582.8675
800 | 2586.2283
801 | 2589.5902
802 | 2592.9532
803 | 2596.3175
804 | 2599.683
805 | 2603.0497
806 | 2606.4179
807 | 2609.7875
808 | 2613.1586
809 | 2616.5312
810 | 2619.9054
811 | 2623.2812
812 | 2626.6588
813 | 2630.0381
814 | 2633.4193
815 | 2636.8024
816 | 2640.1874
817 | 2643.5745
818 | 2646.9636
819 | 2650.3549
820 | 2653.7484
821 | 2657.1442
822 | 2660.5423
823 | 2663.9429
824 | 2667.346
825 | 2670.7516
826 | 2674.1598
827 | 2677.5707
828 | 2680.9844
829 | 2684.4009
830 | 2687.8203
831 | 2691.2427
832 | 2694.6682
833 | 2698.0968
834 | 2701.5285
835 | 2704.9636
836 | 2708.402
837 | 2711.8439
838 | 2715.2893
839 | 2718.7383
840 | 2722.1909
841 | 2725.6473
842 | 2729.1075
843 | 2732.5716
844 | 2736.0398
845 | 2739.512
846 | 2742.9884
847 | 2746.469
848 | 2749.954
849 | 2753.4433
850 | 2756.9372
851 | 2760.4357
852 | 2763.9389
853 | 2767.4469
854 | 2770.9597
855 | 2774.4775
856 | 2778.0003
857 | 2781.5283
858 | 2785.0615
859 | 2788.6001
860 | 2792.144
861 | 2795.6935
862 | 2799.2487
863 | 2802.8095
864 | 2806.3762
865 | 2809.9487
866 | 2813.5273
867 | 2817.112
868 | 2820.7029
869 | 2824.3002
870 | 2827.9038
871 | 2831.514
872 | 2835.1309
873 | 2838.7544
874 | 2842.3849
875 | 2846.0222
876 | 2849.6667
877 | 2853.3183
878 | 2856.9772
879 | 2860.6435
880 | 2864.3173
881 | 2867.9987
882 | 2871.6879
883 | 2875.3849
884 | 2879.0898
885 | 2882.8029
886 | 2886.5241
887 | 2890.2537
888 | 2893.9917
889 | 2897.7383
890 | 2901.4935
891 | 2905.2575
892 | 2909.0305
893 | 2912.8125
894 | 2916.6037
895 | 2920.4041
896 | 2924.214
897 | 2928.0335
898 | 2931.8626
899 | 2935.7015
900 | 2939.5504
901 | 2943.4093
902 | 2947.2784
903 | 2951.1579
904 | 2955.0478
905 | 2958.9483
906 | 2962.8596
907 | 2966.7817
908 | 2970.7148
909 | 2974.6591
910 | 2978.6147
911 | 2982.5817
912 | 2986.5603
913 | 2990.5506
914 | 2994.5527
915 | 2998.5669
916 | 3002.5932
917 | 3006.6317
918 | 3010.6828
919 | 3014.7464
920 | 3018.8227
921 | 3022.9119
922 | 3027.0142
923 | 3031.1297
924 | 3035.2585
925 | 3039.4008
926 | 3043.5567
927 | 3047.7265
928 | 3051.9102
929 | 3056.108
930 | 3060.3202
931 | 3064.5467
932 | 3068.7879
933 | 3073.0438
934 | 3077.3147
935 | 3081.6007
936 | 3085.9019
937 | 3090.2185
938 | 3094.5508
939 | 3098.8988
940 | 3103.2627
941 | 3107.6427
942 | 3112.039
943 | 3116.4518
944 | 3120.8811
945 | 3125.3273
946 | 3129.7904
947 | 3134.2707
948 | 3138.7683
949 | 3143.2834
950 | 3147.8161
951 | 3152.3668
952 | 3156.9355
953 | 3161.5224
954 | 3166.1277
955 | 3170.7516
956 | 3175.3943
957 | 3180.056
958 | 3184.7369
959 | 3189.437
960 | 3194.1568
961 | 3198.8963
962 | 3203.6557
963 | 3208.4352
964 | 3213.235
965 | 3218.0553
966 | 3222.8964
967 | 3227.7584
968 | 3232.6414
969 | 3237.5458
970 | 3242.4717
971 | 3247.4193
972 | 3252.3888
973 | 3257.3805
974 | 3262.3945
975 | 3267.431
976 | 3272.4903
977 | 3277.5725
978 | 3282.6779
979 | 3287.8066
980 | 3292.959
981 | 3298.1352
982 | 3303.3354
983 | 3308.5598
984 | 3313.8087
985 | 3319.0823
986 | 3324.3807
987 | 3329.7043
988 | 3335.0533
989 | 3340.4278
990 | 3345.8281
991 | 3351.2544
992 | 3356.7069
993 | 3362.186
994 | 3367.6917
995 | 3373.2244
996 | 3378.7842
997 | 3384.3715
998 | 3389.9864
999 | 3395.6291
1000 | 3401.3
1001 | 3406.9992
1002 | 3412.727
1003 | 3418.4836
1004 | 3424.2693
1005 | 3430.0844
1006 | 3435.9289
1007 | 3441.8033
1008 | 3447.7077
1009 | 3453.6425
1010 | 3459.6077
1011 | 3465.6038
1012 | 3471.6309
1013 | 3477.6894
1014 | 3483.7794
1015 | 3489.9012
1016 | 3496.0551
1017 | 3502.2413
1018 | 3508.4601
1019 | 3514.7117
1020 | 3520.9965
1021 | 3527.3146
1022 | 3533.6664

## R1-GM
GM - GAME MODE
Sensor L1/venstre |  |  | DATE: | 2022-11-26 | WHO: | KAA
ADC | gram
141 | 0
144 | 125
167 | 250
200 | 375
216 | 500
241 | 625
256 | 750
274 | 875
319 | 1000
366 | 1250
432 | 1500
495 | 1750
579 | 2000
618 | 2125
675 | 2325
724 | 2525
787 | 2725
842 | 2925
902 | 3125
842 | 2925
800 | 2725
745 | 2525
684 | 2325
631 | 2125
565 | 2000
497 | 1750
414 | 1500
346 | 1250
285 | 1000
269 | 875
238 | 750
229 | 625
198 | 500
185 | 375
178 | 250
148 | 125
143 | 0
AFTER HAVING DONE THE CALIBRATION, THEN A 5th ORDER POLYNOMIAL SHOULD BE FITTED TO THE CURVE. THIS EQUATION SHOULD THEN BE USED TO CREATE AN ARRAY OF LENGHT 1022, WITH ADC VALUE 0-1022 AS X, SEE BELOW. CHECK FOR TYPOS BY CHECKING THAT THE POL. EQUATION ARE THE SAME FOR THE TWO GRAPHS.
Calibrering
ADC | gram
0 | -1181 | y= -1.1975E-11x5 + 2.4854E-08x4 - 1.1037E-05x3 - 7.0388E-03x2 + 9.7966E+00x - 1.1810E+03
1 | -1171.2104
2 | -1161.435
3 | -1151.6738
4 | -1141.9269
5 | -1132.1943
6 | -1122.4761
7 | -1112.7724
8 | -1103.0832
9 | -1093.4086
10 | -1083.7487
11 | -1074.1034
12 | -1064.4729
13 | -1054.8573
14 | -1045.2565
15 | -1035.6707
16 | -1026.0999
17 | -1016.5442
18 | -1007.0036
19 | -997.4781
20 | -987.9679
21 | -978.4729
22 | -968.9933
23 | -959.5291
24 | -950.0804
25 | -940.6471
26 | -931.2294
27 | -921.8273
28 | -912.4408
29 | -903.0701
30 | -893.7151
31 | -884.3759
32 | -875.0525
33 | -865.7451
34 | -856.4536
35 | -847.1781
36 | -837.9186
37 | -828.6752
38 | -819.448
39 | -810.2369
40 | -801.042
41 | -791.8635
42 | -782.7012
43 | -773.5552
44 | -764.4257
45 | -755.3126
46 | -746.216
47 | -737.1359
48 | -728.0723
49 | -719.0254
50 | -709.995
51 | -700.9814
52 | -691.9844
53 | -683.0042
54 | -674.0408
55 | -665.0942
56 | -656.1645
57 | -647.2517
58 | -638.3558
59 | -629.4768
60 | -620.6149
61 | -611.77
62 | -602.9421
63 | -594.1313
64 | -585.3377
65 | -576.5612
66 | -567.8019
67 | -559.0598
68 | -550.335
69 | -541.6274
70 | -532.9372
71 | -524.2643
72 | -515.6087
73 | -506.9706
74 | -498.3498
75 | -489.7465
76 | -481.1607
77 | -472.5923
78 | -464.0415
79 | -455.5082
80 | -446.9925
81 | -438.4944
82 | -430.0138
83 | -421.5509
84 | -413.1057
85 | -404.6782
86 | -396.2683
87 | -387.8762
88 | -379.5018
89 | -371.1452
90 | -362.8063
91 | -354.4852
92 | -346.182
93 | -337.8966
94 | -329.629
95 | -321.3793
96 | -313.1475
97 | -304.9336
98 | -296.7376
99 | -288.5595
100 | -280.3994
101 | -272.2572
102 | -264.133
103 | -256.0267
104 | -247.9385
105 | -239.8683
106 | -231.8161
107 | -223.7819
108 | -215.7658
109 | -207.7677
110 | -199.7877
111 | -191.8258
112 | -183.8819
113 | -175.9561
114 | -168.0485
115 | -160.1589
116 | -152.2875
117 | -144.4341
118 | -136.5989
119 | -128.7818
120 | -120.9829
121 | -113.2021
122 | -105.4395
123 | -97.695
124 | -89.9686
125 | -82.2605
126 | -74.5705
127 | -66.8986
128 | -59.2449
129 | -51.6094
130 | -43.9921
131 | -36.3929
132 | -28.8119
133 | -21.2491
134 | -13.7045
135 | -6.178
136 | 1.3303
137 | 8.8205
138 | 16.2924
139 | 23.7462
140 | 31.1819
141 | 38.5993
142 | 45.9987
143 | 53.3798
144 | 60.7428
145 | 68.0877
146 | 75.4145
147 | 82.7231
148 | 90.0135
149 | 97.2859
150 | 104.5401
151 | 111.7762
152 | 118.9943
153 | 126.1942
154 | 133.376
155 | 140.5398
156 | 147.6855
157 | 154.8132
158 | 161.9227
159 | 169.0143
160 | 176.0878
161 | 183.1433
162 | 190.1808
163 | 197.2003
164 | 204.2018
165 | 211.1854
166 | 218.1509
167 | 225.0986
168 | 232.0283
169 | 238.9401
170 | 245.8339
171 | 252.7099
172 | 259.568
173 | 266.4082
174 | 273.2306
175 | 280.0352
176 | 286.8219
177 | 293.5909
178 | 300.342
179 | 307.0754
180 | 313.7911
181 | 320.489
182 | 327.1692
183 | 333.8317
184 | 340.4765
185 | 347.1037
186 | 353.7132
187 | 360.3051
188 | 366.8795
189 | 373.4362
190 | 379.9754
191 | 386.497
192 | 393.0012
193 | 399.4878
194 | 405.957
195 | 412.4087
196 | 418.843
197 | 425.2599
198 | 431.6594
199 | 438.0416
200 | 444.4064
201 | 450.7539
202 | 457.0842
203 | 463.3971
204 | 469.6929
205 | 475.9714
206 | 482.2328
207 | 488.477
208 | 494.704
209 | 500.914
210 | 507.1069
211 | 513.2827
212 | 519.4415
213 | 525.5833
214 | 531.7082
215 | 537.8161
216 | 543.9071
217 | 549.9812
218 | 556.0385
219 | 562.079
220 | 568.1026
221 | 574.1095
222 | 580.0997
223 | 586.0732
224 | 592.03
225 | 597.9701
226 | 603.8937
227 | 609.8007
228 | 615.6911
229 | 621.565
230 | 627.4225
231 | 633.2635
232 | 639.0881
233 | 644.8963
234 | 650.6881
235 | 656.4637
236 | 662.223
237 | 667.966
238 | 673.6928
239 | 679.4035
240 | 685.098
241 | 690.7764
242 | 696.4388
243 | 702.0851
244 | 707.7154
245 | 713.3298
246 | 718.9282
247 | 724.5107
248 | 730.0775
249 | 735.6284
250 | 741.1635
251 | 746.6829
252 | 752.1866
253 | 757.6746
254 | 763.147
255 | 768.6038
256 | 774.0451
257 | 779.4709
258 | 784.8813
259 | 790.2762
260 | 795.6557
261 | 801.0199
262 | 806.3687
263 | 811.7023
264 | 817.0207
265 | 822.3239
266 | 827.612
267 | 832.885
268 | 838.1429
269 | 843.3858
270 | 848.6137
271 | 853.8267
272 | 859.0249
273 | 864.2081
274 | 869.3766
275 | 874.5303
276 | 879.6693
277 | 884.7936
278 | 889.9033
279 | 894.9985
280 | 900.079
281 | 905.1451
282 | 910.1968
283 | 915.234
284 | 920.2569
285 | 925.2654
286 | 930.2597
287 | 935.2398
288 | 940.2056
289 | 945.1574
290 | 950.095
291 | 955.0187
292 | 959.9283
293 | 964.824
294 | 969.7058
295 | 974.5737
296 | 979.4278
297 | 984.2682
298 | 989.0948
299 | 993.9078
300 | 998.7072
301 | 1003.4929
302 | 1008.2652
303 | 1013.024
304 | 1017.7694
305 | 1022.5014
306 | 1027.2201
307 | 1031.9255
308 | 1036.6177
309 | 1041.2967
310 | 1045.9626
311 | 1050.6153
312 | 1055.2551
313 | 1059.8819
314 | 1064.4957
315 | 1069.0967
316 | 1073.6848
317 | 1078.2602
318 | 1082.8228
319 | 1087.3728
320 | 1091.9101
321 | 1096.4349
322 | 1100.9471
323 | 1105.4468
324 | 1109.9342
325 | 1114.4091
326 | 1118.8718
327 | 1123.3221
328 | 1127.7603
329 | 1132.1863
330 | 1136.6002
331 | 1141.002
332 | 1145.3918
333 | 1149.7697
334 | 1154.1357
335 | 1158.4898
336 | 1162.8321
337 | 1167.1627
338 | 1171.4816
339 | 1175.7888
340 | 1180.0845
341 | 1184.3686
342 | 1188.6413
343 | 1192.9026
344 | 1197.1524
345 | 1201.391
346 | 1205.6183
347 | 1209.8344
348 | 1214.0394
349 | 1218.2332
350 | 1222.416
351 | 1226.5878
352 | 1230.7487
353 | 1234.8987
354 | 1239.0379
355 | 1243.1663
356 | 1247.284
357 | 1251.3911
358 | 1255.4875
359 | 1259.5734
360 | 1263.6488
361 | 1267.7137
362 | 1271.7683
363 | 1275.8125
364 | 1279.8465
365 | 1283.8702
366 | 1287.8838
367 | 1291.8873
368 | 1295.8808
369 | 1299.8642
370 | 1303.8377
371 | 1307.8013
372 | 1311.7551
373 | 1315.6992
374 | 1319.6335
375 | 1323.5581
376 | 1327.4732
377 | 1331.3787
378 | 1335.2748
379 | 1339.1614
380 | 1343.0386
381 | 1346.9065
382 | 1350.7652
383 | 1354.6146
384 | 1358.4549
385 | 1362.2861
386 | 1366.1083
387 | 1369.9215
388 | 1373.7258
389 | 1377.5212
390 | 1381.3079
391 | 1385.0857
392 | 1388.8549
393 | 1392.6155
394 | 1396.3674
395 | 1400.1109
396 | 1403.8459
397 | 1407.5725
398 | 1411.2907
399 | 1415.0007
400 | 1418.7024
401 | 1422.3959
402 | 1426.0814
403 | 1429.7587
404 | 1433.4281
405 | 1437.0895
406 | 1440.7431
407 | 1444.3888
408 | 1448.0267
409 | 1451.6569
410 | 1455.2795
411 | 1458.8944
412 | 1462.5019
413 | 1466.1018
414 | 1469.6943
415 | 1473.2794
416 | 1476.8573
417 | 1480.4278
418 | 1483.9912
419 | 1487.5474
420 | 1491.0966
421 | 1494.6387
422 | 1498.1739
423 | 1501.7021
424 | 1505.2235
425 | 1508.7382
426 | 1512.246
427 | 1515.7472
428 | 1519.2418
429 | 1522.7298
430 | 1526.2113
431 | 1529.6864
432 | 1533.155
433 | 1536.6174
434 | 1540.0734
435 | 1543.5232
436 | 1546.9669
437 | 1550.4045
438 | 1553.836
439 | 1557.2615
440 | 1560.6811
441 | 1564.0948
442 | 1567.5027
443 | 1570.9049
444 | 1574.3013
445 | 1577.6921
446 | 1581.0773
447 | 1584.4569
448 | 1587.8311
449 | 1591.1999
450 | 1594.5633
451 | 1597.9214
452 | 1601.2742
453 | 1604.6219
454 | 1607.9644
455 | 1611.3018
456 | 1614.6342
457 | 1617.9617
458 | 1621.2842
459 | 1624.6019
460 | 1627.9147
461 | 1631.2229
462 | 1634.5263
463 | 1637.8251
464 | 1641.1194
465 | 1644.4091
466 | 1647.6944
467 | 1650.9752
468 | 1654.2517
469 | 1657.5239
470 | 1660.7919
471 | 1664.0557
472 | 1667.3153
473 | 1670.5709
474 | 1673.8225
475 | 1677.0701
476 | 1680.3138
477 | 1683.5536
478 | 1686.7896
479 | 1690.0219
480 | 1693.2505
481 | 1696.4755
482 | 1699.6969
483 | 1702.9148
484 | 1706.1292
485 | 1709.3401
486 | 1712.5477
487 | 1715.752
488 | 1718.9531
489 | 1722.1509
490 | 1725.3456
491 | 1728.5372
492 | 1731.7258
493 | 1734.9114
494 | 1738.094
495 | 1741.2738
496 | 1744.4507
497 | 1747.6249
498 | 1750.7963
499 | 1753.9651
500 | 1757.1313
501 | 1760.2948
502 | 1763.4559
503 | 1766.6145
504 | 1769.7707
505 | 1772.9246
506 | 1776.0762
507 | 1779.2255
508 | 1782.3725
509 | 1785.5175
510 | 1788.6604
511 | 1791.8012
512 | 1794.94
513 | 1798.0768
514 | 1801.2118
515 | 1804.3449
516 | 1807.4763
517 | 1810.6059
518 | 1813.7338
519 | 1816.86
520 | 1819.9847
521 | 1823.1078
522 | 1826.2295
523 | 1829.3496
524 | 1832.4684
525 | 1835.5859
526 | 1838.702
527 | 1841.817
528 | 1844.9307
529 | 1848.0432
530 | 1851.1547
531 | 1854.2651
532 | 1857.3745
533 | 1860.4829
534 | 1863.5904
535 | 1866.6971
536 | 1869.803
537 | 1872.9081
538 | 1876.0124
539 | 1879.1161
540 | 1882.2192
541 | 1885.3217
542 | 1888.4236
543 | 1891.5251
544 | 1894.6261
545 | 1897.7267
546 | 1900.827
547 | 1903.9269
548 | 1907.0266
549 | 1910.1261
550 | 1913.2254
551 | 1916.3246
552 | 1919.4237
553 | 1922.5228
554 | 1925.6219
555 | 1928.721
556 | 1931.8202
557 | 1934.9195
558 | 1938.0191
559 | 1941.1188
560 | 1944.2189
561 | 1947.3192
562 | 1950.4199
563 | 1953.521
564 | 1956.6225
565 | 1959.7245
566 | 1962.827
567 | 1965.93
568 | 1969.0337
569 | 1972.138
570 | 1975.243
571 | 1978.3487
572 | 1981.4552
573 | 1984.5625
574 | 1987.6706
575 | 1990.7796
576 | 1993.8895
577 | 1997.0004
578 | 2000.1123
579 | 2003.2252
580 | 2006.3392
581 | 2009.4543
582 | 2012.5706
583 | 2015.6881
584 | 2018.8068
585 | 2021.9267
586 | 2025.048
587 | 2028.1706
588 | 2031.2945
589 | 2034.4199
590 | 2037.5468
591 | 2040.6751
592 | 2043.8049
593 | 2046.9363
594 | 2050.0693
595 | 2053.2039
596 | 2056.3401
597 | 2059.4781
598 | 2062.6177
599 | 2065.7592
600 | 2068.9024
601 | 2072.0475
602 | 2075.1944
603 | 2078.3432
604 | 2081.4939
605 | 2084.6466
606 | 2087.8013
607 | 2090.958
608 | 2094.1167
609 | 2097.2775
610 | 2100.4405
611 | 2103.6056
612 | 2106.7728
613 | 2109.9423
614 | 2113.114
615 | 2116.2879
616 | 2119.4642
617 | 2122.6427
618 | 2125.8236
619 | 2129.0069
620 | 2132.1926
621 | 2135.3808
622 | 2138.5713
623 | 2141.7644
624 | 2144.96
625 | 2148.1581
626 | 2151.3588
627 | 2154.5621
628 | 2157.768
629 | 2160.9765
630 | 2164.1877
631 | 2167.4016
632 | 2170.6182
633 | 2173.8376
634 | 2177.0597
635 | 2180.2846
636 | 2183.5123
637 | 2186.7428
638 | 2189.9762
639 | 2193.2125
640 | 2196.4516
641 | 2199.6937
642 | 2202.9387
643 | 2206.1867
644 | 2209.4377
645 | 2212.6916
646 | 2215.9486
647 | 2219.2087
648 | 2222.4718
649 | 2225.7379
650 | 2229.0072
651 | 2232.2796
652 | 2235.5551
653 | 2238.8337
654 | 2242.1156
655 | 2245.4006
656 | 2248.6888
657 | 2251.9802
658 | 2255.2749
659 | 2258.5728
660 | 2261.874
661 | 2265.1784
662 | 2268.4862
663 | 2271.7972
664 | 2275.1116
665 | 2278.4293
666 | 2281.7504
667 | 2285.0748
668 | 2288.4025
669 | 2291.7337
670 | 2295.0682
671 | 2298.4062
672 | 2301.7476
673 | 2305.0924
674 | 2308.4406
675 | 2311.7923
676 | 2315.1474
677 | 2318.506
678 | 2321.8681
679 | 2325.2336
680 | 2328.6026
681 | 2331.9752
682 | 2335.3512
683 | 2338.7307
684 | 2342.1138
685 | 2345.5004
686 | 2348.8905
687 | 2352.2841
688 | 2355.6812
689 | 2359.082
690 | 2362.4862
691 | 2365.894
692 | 2369.3053
693 | 2372.7202
694 | 2376.1387
695 | 2379.5607
696 | 2382.9863
697 | 2386.4154
698 | 2389.8481
699 | 2393.2843
700 | 2396.7242
701 | 2400.1675
702 | 2403.6144
703 | 2407.0649
704 | 2410.519
705 | 2413.9766
706 | 2417.4377
707 | 2420.9024
708 | 2424.3707
709 | 2427.8424
710 | 2431.3178
711 | 2434.7966
712 | 2438.279
713 | 2441.7649
714 | 2445.2543
715 | 2448.7472
716 | 2452.2436
717 | 2455.7436
718 | 2459.247
719 | 2462.7539
720 | 2466.2642
721 | 2469.778
722 | 2473.2953
723 | 2476.816
724 | 2480.3401
725 | 2483.8677
726 | 2487.3987
727 | 2490.9331
728 | 2494.4708
729 | 2498.0119
730 | 2501.5564
731 | 2505.1043
732 | 2508.6554
733 | 2512.2099
734 | 2515.7677
735 | 2519.3288
736 | 2522.8932
737 | 2526.4608
738 | 2530.0316
739 | 2533.6057
740 | 2537.183
741 | 2540.7635
742 | 2544.3471
743 | 2547.9339
744 | 2551.5238
745 | 2555.1168
746 | 2558.713
747 | 2562.3122
748 | 2565.9144
749 | 2569.5197
750 | 2573.1279
751 | 2576.7392
752 | 2580.3534
753 | 2583.9705
754 | 2587.5906
755 | 2591.2135
756 | 2594.8393
757 | 2598.468
758 | 2602.0994
759 | 2605.7336
760 | 2609.3706
761 | 2613.0103
762 | 2616.6527
763 | 2620.2978
764 | 2623.9455
765 | 2627.5958
766 | 2631.2487
767 | 2634.9042
768 | 2638.5622
769 | 2642.2226
770 | 2645.8855
771 | 2649.5509
772 | 2653.2186
773 | 2656.8887
774 | 2660.5611
775 | 2664.2358
776 | 2667.9128
777 | 2671.5919
778 | 2675.2733
779 | 2678.9568
780 | 2682.6424
781 | 2686.33
782 | 2690.0197
783 | 2693.7114
784 | 2697.405
785 | 2701.1006
786 | 2704.798
787 | 2708.4973
788 | 2712.1983
789 | 2715.9011
790 | 2719.6056
791 | 2723.3117
792 | 2727.0195
793 | 2730.7288
794 | 2734.4397
795 | 2738.152
796 | 2741.8658
797 | 2745.581
798 | 2749.2975
799 | 2753.0153
800 | 2756.7344
801 | 2760.4547
802 | 2764.1761
803 | 2767.8986
804 | 2771.6222
805 | 2775.3467
806 | 2779.0722
807 | 2782.7986
808 | 2786.5259
809 | 2790.2539
810 | 2793.9827
811 | 2797.7122
812 | 2801.4423
813 | 2805.1729
814 | 2808.9041
815 | 2812.6358
816 | 2816.3678
817 | 2820.1002
818 | 2823.8329
819 | 2827.5658
820 | 2831.2989
821 | 2835.0321
822 | 2838.7653
823 | 2842.4985
824 | 2846.2317
825 | 2849.9647
826 | 2853.6975
827 | 2857.43
828 | 2861.1623
829 | 2864.8941
830 | 2868.6255
831 | 2872.3564
832 | 2876.0866
833 | 2879.8162
834 | 2883.5451
835 | 2887.2732
836 | 2891.0005
837 | 2894.7268
838 | 2898.4521
839 | 2902.1763
840 | 2905.8994
841 | 2909.6213
842 | 2913.3419
843 | 2917.0612
844 | 2920.779
845 | 2924.4953
846 | 2928.21
847 | 2931.9231
848 | 2935.6344
849 | 2939.344
850 | 2943.0516
851 | 2946.7573
852 | 2950.4609
853 | 2954.1624
854 | 2957.8617
855 | 2961.5587
856 | 2965.2534
857 | 2968.9456
858 | 2972.6353
859 | 2976.3223
860 | 2980.0067
861 | 2983.6883
862 | 2987.367
863 | 2991.0428
864 | 2994.7156
865 | 2998.3852
866 | 3002.0516
867 | 3005.7147
868 | 3009.3744
869 | 3013.0307
870 | 3016.6833
871 | 3020.3324
872 | 3023.9776
873 | 3027.6191
874 | 3031.2565
875 | 3034.89
876 | 3038.5193
877 | 3042.1445
878 | 3045.7653
879 | 3049.3817
880 | 3052.9936
881 | 3056.6009
882 | 3060.2035
883 | 3063.8013
884 | 3067.3942
885 | 3070.9821
886 | 3074.5649
887 | 3078.1425
888 | 3081.7148
889 | 3085.2817
890 | 3088.8431
891 | 3092.3988
892 | 3095.9489
893 | 3099.4931
894 | 3103.0314
895 | 3106.5637
896 | 3110.0898
897 | 3113.6097
898 | 3117.1232
899 | 3120.6302
900 | 3124.1307
901 | 3127.6244
902 | 3131.1114
903 | 3134.5914
904 | 3138.0644
905 | 3141.5303
906 | 3144.9889
907 | 3148.4401
908 | 3151.8839
909 | 3155.32
910 | 3158.7485
911 | 3162.169
912 | 3165.5817
913 | 3168.9862
914 | 3172.3826
915 | 3175.7706
916 | 3179.1502
917 | 3182.5212
918 | 3185.8835
919 | 3189.237
920 | 3192.5816
921 | 3195.9171
922 | 3199.2435
923 | 3202.5605
924 | 3205.8681
925 | 3209.1661
926 | 3212.4544
927 | 3215.7329
928 | 3219.0014
929 | 3222.2599
930 | 3225.5081
931 | 3228.746
932 | 3231.9734
933 | 3235.1901
934 | 3238.3961
935 | 3241.5913
936 | 3244.7753
937 | 3247.9483
938 | 3251.1099
939 | 3254.2601
940 | 3257.3987
941 | 3260.5256
942 | 3263.6406
943 | 3266.7436
944 | 3269.8345
945 | 3272.9131
946 | 3275.9793
947 | 3279.0329
948 | 3282.0737
949 | 3285.1017
950 | 3288.1167
951 | 3291.1186
952 | 3294.1071
953 | 3297.0821
954 | 3300.0436
955 | 3302.9913
956 | 3305.9251
957 | 3308.8448
958 | 3311.7503
959 | 3314.6414
960 | 3317.518
961 | 3320.38
962 | 3323.2271
963 | 3326.0592
964 | 3328.8761
965 | 3331.6778
966 | 3334.4639
967 | 3337.2345
968 | 3339.9892
969 | 3342.728
970 | 3345.4507
971 | 3348.1571
972 | 3350.8471
973 | 3353.5205
974 | 3356.1771
975 | 3358.8167
976 | 3361.4393
977 | 3364.0446
978 | 3366.6324
979 | 3369.2026
980 | 3371.7551
981 | 3374.2896
982 | 3376.8059
983 | 3379.304
984 | 3381.7836
985 | 3384.2446
986 | 3386.6867
987 | 3389.1098
988 | 3391.5138
989 | 3393.8984
990 | 3396.2634
991 | 3398.6088
992 | 3400.9343
993 | 3403.2397
994 | 3405.5248
995 | 3407.7895
996 | 3410.0336
997 | 3412.2569
998 | 3414.4591
999 | 3416.6403
1000 | 3418.8
1001 | 3420.9382
1002 | 3423.0546
1003 | 3425.1492
1004 | 3427.2216
1005 | 3429.2717
1006 | 3431.2992
1007 | 3433.3041
1008 | 3435.2861
1009 | 3437.2451
1010 | 3439.1807
1011 | 3441.0929
1012 | 3442.9813
1013 | 3444.846
1014 | 3446.6865
1015 | 3448.5028
1016 | 3450.2946
1017 | 3452.0617
1018 | 3453.804
1019 | 3455.5212
1020 | 3457.2131
1021 | 3458.8795
1022 | 3460.5202

## L1-MM
MM - MAX MODE
Sensor L1/venstre |  |  | DATE: | 2022-10-24 | WHO: | AZ
ADC | gram
123 | 0
127 | 125
130 | 250
138 | 500
149 | 750
162 | 1000
177 | 1250
186 | 1500
207 | 1750
221 | 2000
225 | 2125
239 | 2325
249 | 2525
260 | 2725
271 | 2925
281 | 3125
389 | 4635
450 | 5635
542 | 7135
620 | 8385
685 | 9635
763 | 10885
819 | 11885
882 | 12885
945 | 13885
982 | 14385
990 | 14635
988 | 14385
960 | 13885
899 | 12885
837 | 11885
780 | 10885
694 | 9635
624 | 8385
550 | 7135
459 | 5635
400 | 4635
199 | 2000
196 | 1750
123 | 0
AFTER HAVING DONE THE CALIBRATION, THEN A 5th ORDER POLYNOMIAL SHOULD BE FITTED TO THE CURVE. THIS EQUATION SHOULD THEN BE USED TO CREATE AN ARRAY OF LENGHT 1022, WITH ADC VALUE 0-1022 AS X, SEE BELOW. CHECK FOR TYPOS BY CHECKING THAT THE POL. EQUATION ARE THE SAME FOR THE TWO GRAPHS.
Calibrering
ADC | gram
0 | -4837 | Y = 9.9565E-11x5 - 3.0128E-07x4 + 3.4118E-04x3 - 1.7676E-01x2 + 5.6858E+01x - 4.8370E+03
1 | -4780.3184
2 | -4723.9883
3 | -4668.0077
4 | -4612.3744
5 | -4557.0865
6 | -4502.1421
7 | -4447.5389
8 | -4393.2752
9 | -4339.3488
10 | -4285.7578
11 | -4232.5002
12 | -4179.5741
13 | -4126.9774
14 | -4074.7083
15 | -4022.7647
16 | -3971.1447
17 | -3919.8464
18 | -3868.8679
19 | -3818.2072
20 | -3767.8624
21 | -3717.8317
22 | -3668.113
23 | -3618.7046
24 | -3569.6045
25 | -3520.8108
26 | -3472.3217
27 | -3424.1353
28 | -3376.2497
29 | -3328.6632
30 | -3281.3738
31 | -3234.3797
32 | -3187.679
33 | -3141.2701
34 | -3095.1509
35 | -3049.3198
36 | -3003.7749
37 | -2958.5144
38 | -2913.5365
39 | -2868.8395
40 | -2824.4216
41 | -2780.2809
42 | -2736.4158
43 | -2692.8244
44 | -2649.5051
45 | -2606.456
46 | -2563.6755
47 | -2521.1618
48 | -2478.9132
49 | -2436.928
50 | -2395.2044
51 | -2353.7408
52 | -2312.5354
53 | -2271.5866
54 | -2230.8927
55 | -2190.452
56 | -2150.2628
57 | -2110.3235
58 | -2070.6324
59 | -2031.1879
60 | -1991.9883
61 | -1953.032
62 | -1914.3173
63 | -1875.8426
64 | -1837.6064
65 | -1799.607
66 | -1761.8427
67 | -1724.312
68 | -1687.0134
69 | -1649.9451
70 | -1613.1057
71 | -1576.4935
72 | -1540.107
73 | -1503.9446
74 | -1468.0049
75 | -1432.2861
76 | -1396.7868
77 | -1361.5055
78 | -1326.4406
79 | -1291.5906
80 | -1256.954
81 | -1222.5293
82 | -1188.3149
83 | -1154.3094
84 | -1120.5113
85 | -1086.9191
86 | -1053.5313
87 | -1020.3464
88 | -987.363
89 | -954.5796
90 | -921.9948
91 | -889.6072
92 | -857.4151
93 | -825.4174
94 | -793.6124
95 | -761.9988
96 | -730.5752
97 | -699.3402
98 | -668.2923
99 | -637.4301
100 | -606.7524
101 | -576.2575
102 | -545.9443
103 | -515.8113
104 | -485.8572
105 | -456.0805
106 | -426.48
107 | -397.0543
108 | -367.802
109 | -338.7218
110 | -309.8123
111 | -281.0723
112 | -252.5004
113 | -224.0953
114 | -195.8557
115 | -167.7803
116 | -139.8678
117 | -112.1169
118 | -84.5263
119 | -57.0947
120 | -29.8209
121 | -2.7036
122 | 24.2585
123 | 51.0667
124 | 77.7221
125 | 104.226
126 | 130.5797
127 | 156.7844
128 | 182.8413
129 | 208.7516
130 | 234.5167
131 | 260.1376
132 | 285.6155
133 | 310.9518
134 | 336.1475
135 | 361.2039
136 | 386.1222
137 | 410.9034
138 | 435.5489
139 | 460.0597
140 | 484.437
141 | 508.682
142 | 532.7959
143 | 556.7797
144 | 580.6346
145 | 604.3617
146 | 627.9622
147 | 651.4372
148 | 674.7878
149 | 698.0151
150 | 721.1202
151 | 744.1043
152 | 766.9683
153 | 789.7134
154 | 812.3408
155 | 834.8514
156 | 857.2463
157 | 879.5266
158 | 901.6934
159 | 923.7477
160 | 945.6906
161 | 967.5231
162 | 989.2462
163 | 1010.861
164 | 1032.3686
165 | 1053.7699
166 | 1075.066
167 | 1096.2578
168 | 1117.3464
169 | 1138.3329
170 | 1159.2181
171 | 1180.0031
172 | 1200.6888
173 | 1221.2764
174 | 1241.7666
175 | 1262.1606
176 | 1282.4592
177 | 1302.6634
178 | 1322.7743
179 | 1342.7927
180 | 1362.7196
181 | 1382.5559
182 | 1402.3025
183 | 1421.9605
184 | 1441.5307
185 | 1461.014
186 | 1480.4114
187 | 1499.7238
188 | 1518.952
189 | 1538.0971
190 | 1557.1598
191 | 1576.1411
192 | 1595.0418
193 | 1613.8629
194 | 1632.6052
195 | 1651.2695
196 | 1669.8568
197 | 1688.368
198 | 1706.8038
199 | 1725.1651
200 | 1743.4528
201 | 1761.6677
202 | 1779.8107
203 | 1797.8825
204 | 1815.884
205 | 1833.8161
206 | 1851.6796
207 | 1869.4751
208 | 1887.2037
209 | 1904.8661
210 | 1922.463
211 | 1939.9953
212 | 1957.4637
213 | 1974.8691
214 | 1992.2122
215 | 2009.4939
216 | 2026.7147
217 | 2043.8757
218 | 2060.9774
219 | 2078.0207
220 | 2095.0063
221 | 2111.935
222 | 2128.8074
223 | 2145.6244
224 | 2162.3867
225 | 2179.0949
226 | 2195.7499
227 | 2212.3524
228 | 2228.903
229 | 2245.4025
230 | 2261.8515
231 | 2278.2509
232 | 2294.6012
233 | 2310.9032
234 | 2327.1576
235 | 2343.365
236 | 2359.5262
237 | 2375.6417
238 | 2391.7123
239 | 2407.7387
240 | 2423.7215
241 | 2439.6613
242 | 2455.5588
243 | 2471.4147
244 | 2487.2297
245 | 2503.0042
246 | 2518.7391
247 | 2534.4349
248 | 2550.0922
249 | 2565.7117
250 | 2581.2939
251 | 2596.8396
252 | 2612.3493
253 | 2627.8236
254 | 2643.2632
255 | 2658.6685
256 | 2674.0403
257 | 2689.3791
258 | 2704.6855
259 | 2719.96
260 | 2735.2033
261 | 2750.4159
262 | 2765.5984
263 | 2780.7514
264 | 2795.8753
265 | 2810.9709
266 | 2826.0386
267 | 2841.0789
268 | 2856.0925
269 | 2871.0798
270 | 2886.0414
271 | 2900.9778
272 | 2915.8896
273 | 2930.7773
274 | 2945.6414
275 | 2960.4823
276 | 2975.3008
277 | 2990.0971
278 | 3004.8719
279 | 3019.6256
280 | 3034.3588
281 | 3049.0719
282 | 3063.7654
283 | 3078.4398
284 | 3093.0956
285 | 3107.7333
286 | 3122.3533
287 | 3136.9561
288 | 3151.5422
289 | 3166.1121
290 | 3180.6661
291 | 3195.2047
292 | 3209.7285
293 | 3224.2378
294 | 3238.7331
295 | 3253.2148
296 | 3267.6834
297 | 3282.1393
298 | 3296.5829
299 | 3311.0146
300 | 3325.4349
301 | 3339.8443
302 | 3354.243
303 | 3368.6315
304 | 3383.0102
305 | 3397.3796
306 | 3411.7399
307 | 3426.0917
308 | 3440.4353
309 | 3454.7711
310 | 3469.0995
311 | 3483.4208
312 | 3497.7354
313 | 3512.0438
314 | 3526.3463
315 | 3540.6432
316 | 3554.9349
317 | 3569.2218
318 | 3583.5043
319 | 3597.7826
320 | 3612.0572
321 | 3626.3283
322 | 3640.5964
323 | 3654.8617
324 | 3669.1247
325 | 3683.3856
326 | 3697.6447
327 | 3711.9024
328 | 3726.1591
329 | 3740.415
330 | 3754.6704
331 | 3768.9257
332 | 3783.1812
333 | 3797.4372
334 | 3811.6939
335 | 3825.9517
336 | 3840.2109
337 | 3854.4718
338 | 3868.7347
339 | 3882.9998
340 | 3897.2674
341 | 3911.5379
342 | 3925.8114
343 | 3940.0884
344 | 3954.3689
345 | 3968.6534
346 | 3982.942
347 | 3997.2351
348 | 4011.5329
349 | 4025.8356
350 | 4040.1435
351 | 4054.4569
352 | 4068.776
353 | 4083.101
354 | 4097.4323
355 | 4111.7699
356 | 4126.1142
357 | 4140.4654
358 | 4154.8236
359 | 4169.1893
360 | 4183.5625
361 | 4197.9435
362 | 4212.3324
363 | 4226.7296
364 | 4241.1353
365 | 4255.5495
366 | 4269.9726
367 | 4284.4048
368 | 4298.8461
369 | 4313.2969
370 | 4327.7574
371 | 4342.2277
372 | 4356.7079
373 | 4371.1984
374 | 4385.6993
375 | 4400.2107
376 | 4414.7328
377 | 4429.2659
378 | 4443.81
379 | 4458.3654
380 | 4472.9322
381 | 4487.5105
382 | 4502.1007
383 | 4516.7027
384 | 4531.3167
385 | 4545.943
386 | 4560.5816
387 | 4575.2328
388 | 4589.8965
389 | 4604.5731
390 | 4619.2626
391 | 4633.9652
392 | 4648.6809
393 | 4663.41
394 | 4678.1526
395 | 4692.9088
396 | 4707.6786
397 | 4722.4623
398 | 4737.26
399 | 4752.0717
400 | 4766.8976
401 | 4781.7378
402 | 4796.5924
403 | 4811.4615
404 | 4826.3453
405 | 4841.2438
406 | 4856.157
407 | 4871.0853
408 | 4886.0285
409 | 4900.9868
410 | 4915.9603
411 | 4930.9491
412 | 4945.9533
413 | 4960.9729
414 | 4976.008
415 | 4991.0588
416 | 5006.1253
417 | 5021.2075
418 | 5036.3055
419 | 5051.4195
420 | 5066.5494
421 | 5081.6953
422 | 5096.8574
423 | 5112.0356
424 | 5127.23
425 | 5142.4407
426 | 5157.6678
427 | 5172.9112
428 | 5188.171
429 | 5203.4473
430 | 5218.7402
431 | 5234.0496
432 | 5249.3756
433 | 5264.7183
434 | 5280.0776
435 | 5295.4537
436 | 5310.8465
437 | 5326.2561
438 | 5341.6825
439 | 5357.1258
440 | 5372.5859
441 | 5388.0629
442 | 5403.5568
443 | 5419.0676
444 | 5434.5954
445 | 5450.1402
446 | 5465.7019
447 | 5481.2806
448 | 5496.8763
449 | 5512.4891
450 | 5528.1188
451 | 5543.7655
452 | 5559.4293
453 | 5575.11
454 | 5590.8078
455 | 5606.5226
456 | 5622.2544
457 | 5638.0032
458 | 5653.7689
459 | 5669.5517
460 | 5685.3514
461 | 5701.1681
462 | 5717.0017
463 | 5732.8522
464 | 5748.7196
465 | 5764.6039
466 | 5780.5051
467 | 5796.4231
468 | 5812.3579
469 | 5828.3095
470 | 5844.2778
471 | 5860.2628
472 | 5876.2645
473 | 5892.2829
474 | 5908.3179
475 | 5924.3695
476 | 5940.4376
477 | 5956.5222
478 | 5972.6232
479 | 5988.7407
480 | 6004.8745
481 | 6021.0247
482 | 6037.1911
483 | 6053.3738
484 | 6069.5726
485 | 6085.7876
486 | 6102.0186
487 | 6118.2656
488 | 6134.5286
489 | 6150.8075
490 | 6167.1022
491 | 6183.4127
492 | 6199.7389
493 | 6216.0807
494 | 6232.4382
495 | 6248.8111
496 | 6265.1995
497 | 6281.6033
498 | 6298.0224
499 | 6314.4567
500 | 6330.9062
501 | 6347.3708
502 | 6363.8505
503 | 6380.345
504 | 6396.8544
505 | 6413.3786
506 | 6429.9175
507 | 6446.4711
508 | 6463.0391
509 | 6479.6216
510 | 6496.2185
511 | 6512.8297
512 | 6529.4551
513 | 6546.0945
514 | 6562.748
515 | 6579.4154
516 | 6596.0967
517 | 6612.7917
518 | 6629.5003
519 | 6646.2225
520 | 6662.9582
521 | 6679.7072
522 | 6696.4695
523 | 6713.2449
524 | 6730.0335
525 | 6746.8349
526 | 6763.6493
527 | 6780.4764
528 | 6797.3161
529 | 6814.1684
530 | 6831.0331
531 | 6847.9102
532 | 6864.7995
533 | 6881.7009
534 | 6898.6144
535 | 6915.5397
536 | 6932.4768
537 | 6949.4256
538 | 6966.386
539 | 6983.3578
540 | 7000.341
541 | 7017.3353
542 | 7034.3408
543 | 7051.3573
544 | 7068.3846
545 | 7085.4228
546 | 7102.4715
547 | 7119.5307
548 | 7136.6004
549 | 7153.6803
550 | 7170.7704
551 | 7187.8705
552 | 7204.9805
553 | 7222.1003
554 | 7239.2297
555 | 7256.3687
556 | 7273.5171
557 | 7290.6748
558 | 7307.8416
559 | 7325.0175
560 | 7342.2023
561 | 7359.3958
562 | 7376.598
563 | 7393.8087
564 | 7411.0277
565 | 7428.2551
566 | 7445.4905
567 | 7462.734
568 | 7479.9853
569 | 7497.2443
570 | 7514.5109
571 | 7531.785
572 | 7549.0664
573 | 7566.355
574 | 7583.6506
575 | 7600.9532
576 | 7618.2626
577 | 7635.5786
578 | 7652.9011
579 | 7670.23
580 | 7687.5652
581 | 7704.9064
582 | 7722.2537
583 | 7739.6067
584 | 7756.9655
585 | 7774.3298
586 | 7791.6995
587 | 7809.0745
588 | 7826.4546
589 | 7843.8398
590 | 7861.2298
591 | 7878.6245
592 | 7896.0238
593 | 7913.4276
594 | 7930.8356
595 | 7948.2478
596 | 7965.6641
597 | 7983.0842
598 | 8000.508
599 | 8017.9355
600 | 8035.3664
601 | 8052.8006
602 | 8070.2381
603 | 8087.6785
604 | 8105.1219
605 | 8122.568
606 | 8140.0167
607 | 8157.4679
608 | 8174.9214
609 | 8192.3771
610 | 8209.8349
611 | 8227.2946
612 | 8244.756
613 | 8262.2191
614 | 8279.6837
615 | 8297.1496
616 | 8314.6167
617 | 8332.0849
618 | 8349.554
619 | 8367.0239
620 | 8384.4945
621 | 8401.9655
622 | 8419.437
623 | 8436.9086
624 | 8454.3804
625 | 8471.8521
626 | 8489.3236
627 | 8506.7948
628 | 8524.2655
629 | 8541.7356
630 | 8559.205
631 | 8576.6735
632 | 8594.141
633 | 8611.6073
634 | 8629.0724
635 | 8646.536
636 | 8663.9981
637 | 8681.4584
638 | 8698.917
639 | 8716.3735
640 | 8733.828
641 | 8751.2803
642 | 8768.7301
643 | 8786.1775
644 | 8803.6223
645 | 8821.0643
646 | 8838.5033
647 | 8855.9394
648 | 8873.3723
649 | 8890.8019
650 | 8908.2281
651 | 8925.6508
652 | 8943.0697
653 | 8960.4849
654 | 8977.8961
655 | 8995.3033
656 | 9012.7063
657 | 9030.105
658 | 9047.4993
659 | 9064.8889
660 | 9082.274
661 | 9099.6542
662 | 9117.0294
663 | 9134.3996
664 | 9151.7647
665 | 9169.1244
666 | 9186.4788
667 | 9203.8276
668 | 9221.1707
669 | 9238.5081
670 | 9255.8396
671 | 9273.1651
672 | 9290.4845
673 | 9307.7976
674 | 9325.1044
675 | 9342.4048
676 | 9359.6986
677 | 9376.9856
678 | 9394.2659
679 | 9411.5393
680 | 9428.8057
681 | 9446.065
682 | 9463.317
683 | 9480.5617
684 | 9497.799
685 | 9515.0287
686 | 9532.2508
687 | 9549.4651
688 | 9566.6716
689 | 9583.8701
690 | 9601.0606
691 | 9618.2429
692 | 9635.417
693 | 9652.5828
694 | 9669.7401
695 | 9686.8889
696 | 9704.029
697 | 9721.1604
698 | 9738.2831
699 | 9755.3968
700 | 9772.5016
701 | 9789.5972
702 | 9806.6837
703 | 9823.761
704 | 9840.8289
705 | 9857.8874
706 | 9874.9365
707 | 9891.9759
708 | 9909.0057
709 | 9926.0258
710 | 9943.036
711 | 9960.0364
712 | 9977.0267
713 | 9994.0071
714 | 10010.9773
715 | 10027.9374
716 | 10044.8872
717 | 10061.8267
718 | 10078.7559
719 | 10095.6745
720 | 10112.5827
721 | 10129.4803
722 | 10146.3672
723 | 10163.2435
724 | 10180.1089
725 | 10196.9636
726 | 10213.8074
727 | 10230.6403
728 | 10247.4622
729 | 10264.2731
730 | 10281.0729
731 | 10297.8616
732 | 10314.6391
733 | 10331.4053
734 | 10348.1603
735 | 10364.9041
736 | 10381.6364
737 | 10398.3574
738 | 10415.0669
739 | 10431.765
740 | 10448.4516
741 | 10465.1267
742 | 10481.7902
743 | 10498.4421
744 | 10515.0824
745 | 10531.711
746 | 10548.328
747 | 10564.9332
748 | 10581.5268
749 | 10598.1086
750 | 10614.6787
751 | 10631.237
752 | 10647.7835
753 | 10664.3183
754 | 10680.8412
755 | 10697.3523
756 | 10713.8515
757 | 10730.339
758 | 10746.8146
759 | 10763.2783
760 | 10779.7302
761 | 10796.1703
762 | 10812.5986
763 | 10829.015
764 | 10845.4196
765 | 10861.8123
766 | 10878.1933
767 | 10894.5625
768 | 10910.9199
769 | 10927.2656
770 | 10943.5995
771 | 10959.9217
772 | 10976.2321
773 | 10992.531
774 | 11008.8181
775 | 11025.0937
776 | 11041.3576
777 | 11057.61
778 | 11073.8509
779 | 11090.0803
780 | 11106.2982
781 | 11122.5048
782 | 11138.6999
783 | 11154.8838
784 | 11171.0564
785 | 11187.2177
786 | 11203.3679
787 | 11219.507
788 | 11235.635
789 | 11251.752
790 | 11267.858
791 | 11283.9532
792 | 11300.0375
793 | 11316.1111
794 | 11332.174
795 | 11348.2263
796 | 11364.2681
797 | 11380.2993
798 | 11396.3202
799 | 11412.3308
800 | 11428.3312
801 | 11444.3214
802 | 11460.3016
803 | 11476.2718
804 | 11492.2321
805 | 11508.1827
806 | 11524.1236
807 | 11540.0548
808 | 11555.9767
809 | 11571.8891
810 | 11587.7922
811 | 11603.6862
812 | 11619.5712
813 | 11635.4472
814 | 11651.3143
815 | 11667.1728
816 | 11683.0227
817 | 11698.8641
818 | 11714.6972
819 | 11730.5221
820 | 11746.3389
821 | 11762.1477
822 | 11777.9488
823 | 11793.7422
824 | 11809.528
825 | 11825.3065
826 | 11841.0777
827 | 11856.8419
828 | 11872.5991
829 | 11888.3495
830 | 11904.0933
831 | 11919.8307
832 | 11935.5617
833 | 11951.2866
834 | 11967.0055
835 | 11982.7186
836 | 11998.4261
837 | 12014.1282
838 | 12029.825
839 | 12045.5166
840 | 12061.2034
841 | 12076.8855
842 | 12092.563
843 | 12108.2362
844 | 12123.9053
845 | 12139.5704
846 | 12155.2317
847 | 12170.8896
848 | 12186.5441
849 | 12202.1955
850 | 12217.8439
851 | 12233.4897
852 | 12249.133
853 | 12264.7741
854 | 12280.4131
855 | 12296.0503
856 | 12311.686
857 | 12327.3203
858 | 12342.9535
859 | 12358.5859
860 | 12374.2176
861 | 12389.849
862 | 12405.4803
863 | 12421.1116
864 | 12436.7434
865 | 12452.3758
866 | 12468.0091
867 | 12483.6435
868 | 12499.2794
869 | 12514.917
870 | 12530.5566
871 | 12546.1984
872 | 12561.8427
873 | 12577.4899
874 | 12593.1401
875 | 12608.7938
876 | 12624.4511
877 | 12640.1124
878 | 12655.778
879 | 12671.4482
880 | 12687.1232
881 | 12702.8034
882 | 12718.4892
883 | 12734.1807
884 | 12749.8784
885 | 12765.5825
886 | 12781.2935
887 | 12797.0115
888 | 12812.737
889 | 12828.4703
890 | 12844.2116
891 | 12859.9615
892 | 12875.7201
893 | 12891.4879
894 | 12907.2652
895 | 12923.0524
896 | 12938.8498
897 | 12954.6578
898 | 12970.4767
899 | 12986.3069
900 | 13002.1488
901 | 13018.0028
902 | 13033.8693
903 | 13049.7486
904 | 13065.6411
905 | 13081.5472
906 | 13097.4673
907 | 13113.4018
908 | 13129.3511
909 | 13145.3157
910 | 13161.2958
911 | 13177.292
912 | 13193.3046
913 | 13209.3341
914 | 13225.3809
915 | 13241.4453
916 | 13257.528
917 | 13273.6292
918 | 13289.7494
919 | 13305.8891
920 | 13322.0487
921 | 13338.2287
922 | 13354.4294
923 | 13370.6514
924 | 13386.8952
925 | 13403.1611
926 | 13419.4497
927 | 13435.7614
928 | 13452.0968
929 | 13468.4562
930 | 13484.8402
931 | 13501.2492
932 | 13517.6838
933 | 13534.1444
934 | 13550.6316
935 | 13567.1458
936 | 13583.6876
937 | 13600.2574
938 | 13616.8558
939 | 13633.4833
940 | 13650.1404
941 | 13666.8277
942 | 13683.5456
943 | 13700.2948
944 | 13717.0757
945 | 13733.8889
946 | 13750.7349
947 | 13767.6144
948 | 13784.5277
949 | 13801.4756
950 | 13818.4585
951 | 13835.4771
952 | 13852.5319
953 | 13869.6235
954 | 13886.7524
955 | 13903.9193
956 | 13921.1247
957 | 13938.3692
958 | 13955.6534
959 | 13972.978
960 | 13990.3435
961 | 14007.7506
962 | 14025.1997
963 | 14042.6917
964 | 14060.227
965 | 14077.8064
966 | 14095.4304
967 | 14113.0997
968 | 14130.8149
969 | 14148.5766
970 | 14166.3856
971 | 14184.2424
972 | 14202.1478
973 | 14220.1023
974 | 14238.1067
975 | 14256.1616
976 | 14274.2677
977 | 14292.4256
978 | 14310.6361
979 | 14328.8998
980 | 14347.2174
981 | 14365.5897
982 | 14384.0173
983 | 14402.5009
984 | 14421.0413
985 | 14439.6391
986 | 14458.2951
987 | 14477.01
988 | 14495.7845
989 | 14514.6193
990 | 14533.5152
991 | 14552.473
992 | 14571.4934
993 | 14590.577
994 | 14609.7248
995 | 14628.9374
996 | 14648.2156
997 | 14667.5602
998 | 14686.9719
999 | 14706.4516
1000 | 14726
1001 | 14745.6179
1002 | 14765.3061
1003 | 14785.0653
1004 | 14804.8965
1005 | 14824.8003
1006 | 14844.7777
1007 | 14864.8294
1008 | 14884.9562
1009 | 14905.1591
1010 | 14925.4387
1011 | 14945.7959
1012 | 14966.2317
1013 | 14986.7468
1014 | 15007.342
1015 | 15028.0183
1016 | 15048.7765
1017 | 15069.6174
1018 | 15090.542
1019 | 15111.551
1020 | 15132.6454
1021 | 15153.8261
1022 | 15175.094

## R1-MM
MM - MAX MODE
Sensor R1/højre |  |  | DATE: | 2022-10-24 | WHO: | AZ
ADC | gram
128 | 0
129 | 125
134 | 250
141 | 500
148 | 750
161 | 1000
173 | 1250
182 | 1500
203 | 1750
216 | 2000
221 | 2125
234 | 2325
245 | 2525
258 | 2725
273 | 2925
286 | 3125
378 | 4635
440 | 5635
530 | 7135
620 | 8385
689 | 9635
775 | 10885
838 | 11885
905 | 12885
972 | 13885
989 | 14385
991 | 14635
991 | 14385
988 | 13885
920 | 12885
856 | 11885
797 | 10885
713 | 9635
635 | 8385
552 | 7135
460 | 5635
395 | 4635
215 | 2000
126 | 0
126 | 0
135 | 125
131 | 0
AFTER HAVING DONE THE CALIBRATION, THEN A 5th ORDER POLYNOMIAL SHOULD BE FITTED TO THE CURVE. THIS EQUATION SHOULD THEN BE USED TO CREATE AN ARRAY OF LENGHT 1022, WITH ADC VALUE 0-1022 AS X, SEE BELOW. CHECK FOR TYPOS BY CHECKING THAT THE POL. EQUATION ARE THE SAME FOR THE TWO GRAPHS.
Calibrering
ADC | gram
0 | -5367.8 | y = 1.1745E-10x5 - 3.4148E-07x4 + 3.7604E-04x3 - 1.9387E-01x2 + 6.1793E+01x - 5.3678E+03
1 | -5306.2005
2 | -5244.9865
3 | -5184.1557
4 | -5123.7059
5 | -5063.635
6 | -5003.9405
7 | -4944.6205
8 | -4885.6725
9 | -4827.0946
10 | -4768.8844
11 | -4711.0397
12 | -4653.5585
13 | -4596.4386
14 | -4539.6777
15 | -4483.2738
16 | -4427.2247
17 | -4371.5283
18 | -4316.1824
19 | -4261.185
20 | -4206.5339
21 | -4152.2271
22 | -4098.2624
23 | -4044.6378
24 | -3991.3511
25 | -3938.4004
26 | -3885.7835
27 | -3833.4984
28 | -3781.5431
29 | -3729.9155
30 | -3678.6137
31 | -3627.6355
32 | -3576.9789
33 | -3526.6421
34 | -3476.6228
35 | -3426.9193
36 | -3377.5295
37 | -3328.4513
38 | -3279.6829
39 | -3231.2224
40 | -3183.0676
41 | -3135.2168
42 | -3087.6679
43 | -3040.419
44 | -2993.4683
45 | -2946.8137
46 | -2900.4535
47 | -2854.3856
48 | -2808.6083
49 | -2763.1195
50 | -2717.9175
51 | -2673.0004
52 | -2628.3664
53 | -2584.0134
54 | -2539.9399
55 | -2496.1437
56 | -2452.6233
57 | -2409.3766
58 | -2366.402
59 | -2323.6976
60 | -2281.2616
61 | -2239.0922
62 | -2197.1876
63 | -2155.5461
64 | -2114.1659
65 | -2073.0451
66 | -2032.1821
67 | -1991.5751
68 | -1951.2224
69 | -1911.1222
70 | -1871.2728
71 | -1831.6725
72 | -1792.3195
73 | -1753.2122
74 | -1714.3489
75 | -1675.7278
76 | -1637.3473
77 | -1599.2057
78 | -1561.3013
79 | -1523.6326
80 | -1486.1977
81 | -1448.9951
82 | -1412.0231
83 | -1375.2801
84 | -1338.7644
85 | -1302.4745
86 | -1266.4087
87 | -1230.5655
88 | -1194.9431
89 | -1159.5401
90 | -1124.3548
91 | -1089.3857
92 | -1054.6311
93 | -1020.0896
94 | -985.7596
95 | -951.6394
96 | -917.7276
97 | -884.0227
98 | -850.523
99 | -817.2271
100 | -784.1335
101 | -751.2406
102 | -718.547
103 | -686.0511
104 | -653.7514
105 | -621.6466
106 | -589.735
107 | -558.0152
108 | -526.4858
109 | -495.1453
110 | -463.9923
111 | -433.0253
112 | -402.2428
113 | -371.6435
114 | -341.2259
115 | -310.9886
116 | -280.9302
117 | -251.0493
118 | -221.3445
119 | -191.8144
120 | -162.4576
121 | -133.2728
122 | -104.2585
123 | -75.4134
124 | -46.7362
125 | -18.2255
126 | 10.1201
127 | 38.3019
128 | 66.3212
129 | 94.1793
130 | 121.8776
131 | 149.4174
132 | 176.8
133 | 204.0266
134 | 231.0987
135 | 258.0174
136 | 284.784
137 | 311.3999
138 | 337.8663
139 | 364.1844
140 | 390.3555
141 | 416.381
142 | 442.2619
143 | 467.9995
144 | 493.5951
145 | 519.05
146 | 544.3652
147 | 569.5421
148 | 594.5818
149 | 619.4856
150 | 644.2546
151 | 668.89
152 | 693.3931
153 | 717.7649
154 | 742.0066
155 | 766.1195
156 | 790.1047
157 | 813.9633
158 | 837.6964
159 | 861.3053
160 | 884.791
161 | 908.1547
162 | 931.3975
163 | 954.5205
164 | 977.5249
165 | 1000.4117
166 | 1023.182
167 | 1045.8369
168 | 1068.3775
169 | 1090.8049
170 | 1113.1202
171 | 1135.3245
172 | 1157.4187
173 | 1179.404
174 | 1201.2814
175 | 1223.0519
176 | 1244.7166
177 | 1266.2766
178 | 1287.7329
179 | 1309.0864
180 | 1330.3382
181 | 1351.4894
182 | 1372.5408
183 | 1393.4936
184 | 1414.3487
185 | 1435.1071
186 | 1455.7698
187 | 1476.3378
188 | 1496.812
189 | 1517.1934
190 | 1537.483
191 | 1557.6817
192 | 1577.7905
193 | 1597.8103
194 | 1617.7421
195 | 1637.5868
196 | 1657.3453
197 | 1677.0186
198 | 1696.6075
199 | 1716.113
200 | 1735.536
201 | 1754.8774
202 | 1774.1381
203 | 1793.3189
204 | 1812.4208
205 | 1831.4447
206 | 1850.3913
207 | 1869.2617
208 | 1888.0566
209 | 1906.7769
210 | 1925.4235
211 | 1943.9972
212 | 1962.4988
213 | 1980.9293
214 | 1999.2893
215 | 2017.5799
216 | 2035.8017
217 | 2053.9556
218 | 2072.0424
219 | 2090.0629
220 | 2108.0179
221 | 2125.9083
222 | 2143.7347
223 | 2161.4981
224 | 2179.1991
225 | 2196.8386
226 | 2214.4173
227 | 2231.9359
228 | 2249.3954
229 | 2266.7963
230 | 2284.1395
231 | 2301.4257
232 | 2318.6556
233 | 2335.83
234 | 2352.9497
235 | 2370.0152
236 | 2387.0275
237 | 2403.9871
238 | 2420.8948
239 | 2437.7513
240 | 2454.5573
241 | 2471.3135
242 | 2488.0206
243 | 2504.6793
244 | 2521.2902
245 | 2537.8541
246 | 2554.3716
247 | 2570.8434
248 | 2587.2701
249 | 2603.6524
250 | 2619.991
251 | 2636.2865
252 | 2652.5396
253 | 2668.7509
254 | 2684.921
255 | 2701.0505
256 | 2717.1402
257 | 2733.1906
258 | 2749.2023
259 | 2765.1759
260 | 2781.1122
261 | 2797.0115
262 | 2812.8747
263 | 2828.7021
264 | 2844.4946
265 | 2860.2525
266 | 2875.9766
267 | 2891.6674
268 | 2907.3254
269 | 2922.9513
270 | 2938.5455
271 | 2954.1087
272 | 2969.6414
273 | 2985.1442
274 | 3000.6176
275 | 3016.0621
276 | 3031.4783
277 | 3046.8667
278 | 3062.2279
279 | 3077.5623
280 | 3092.8705
281 | 3108.1531
282 | 3123.4104
283 | 3138.6431
284 | 3153.8516
285 | 3169.0365
286 | 3184.1982
287 | 3199.3371
288 | 3214.4539
289 | 3229.549
290 | 3244.6228
291 | 3259.6759
292 | 3274.7087
293 | 3289.7217
294 | 3304.7152
295 | 3319.6899
296 | 3334.6462
297 | 3349.5844
298 | 3364.5051
299 | 3379.4086
300 | 3394.2955
301 | 3409.1661
302 | 3424.021
303 | 3438.8604
304 | 3453.6849
305 | 3468.4948
306 | 3483.2906
307 | 3498.0726
308 | 3512.8414
309 | 3527.5972
310 | 3542.3405
311 | 3557.0717
312 | 3571.7912
313 | 3586.4993
314 | 3601.1964
315 | 3615.883
316 | 3630.5594
317 | 3645.2259
318 | 3659.883
319 | 3674.531
320 | 3689.1702
321 | 3703.8011
322 | 3718.4239
323 | 3733.039
324 | 3747.6468
325 | 3762.2477
326 | 3776.8418
327 | 3791.4297
328 | 3806.0115
329 | 3820.5878
330 | 3835.1586
331 | 3849.7245
332 | 3864.2857
333 | 3878.8425
334 | 3893.3952
335 | 3907.9442
336 | 3922.4897
337 | 3937.032
338 | 3951.5715
339 | 3966.1084
340 | 3980.643
341 | 3995.1757
342 | 4009.7066
343 | 4024.2361
344 | 4038.7644
345 | 4053.2919
346 | 4067.8187
347 | 4082.3452
348 | 4096.8716
349 | 4111.3982
350 | 4125.9252
351 | 4140.4529
352 | 4154.9815
353 | 4169.5113
354 | 4184.0425
355 | 4198.5753
356 | 4213.1101
357 | 4227.647
358 | 4242.1863
359 | 4256.7281
360 | 4271.2728
361 | 4285.8204
362 | 4300.3714
363 | 4314.9258
364 | 4329.4839
365 | 4344.0458
366 | 4358.6119
367 | 4373.1822
368 | 4387.757
369 | 4402.3365
370 | 4416.9209
371 | 4431.5104
372 | 4446.1051
373 | 4460.7052
374 | 4475.311
375 | 4489.9226
376 | 4504.5401
377 | 4519.1638
378 | 4533.7939
379 | 4548.4304
380 | 4563.0735
381 | 4577.7235
382 | 4592.3804
383 | 4607.0444
384 | 4621.7158
385 | 4636.3945
386 | 4651.0808
387 | 4665.7749
388 | 4680.4768
389 | 4695.1866
390 | 4709.9047
391 | 4724.6309
392 | 4739.3656
393 | 4754.1088
394 | 4768.8606
395 | 4783.6213
396 | 4798.3908
397 | 4813.1693
398 | 4827.9569
399 | 4842.7538
400 | 4857.56
401 | 4872.3757
402 | 4887.2009
403 | 4902.0358
404 | 4916.8804
405 | 4931.7349
406 | 4946.5993
407 | 4961.4738
408 | 4976.3583
409 | 4991.2532
410 | 5006.1583
411 | 5021.0737
412 | 5035.9997
413 | 5050.9362
414 | 5065.8833
415 | 5080.841
416 | 5095.8096
417 | 5110.7889
418 | 5125.7792
419 | 5140.7803
420 | 5155.7925
421 | 5170.8158
422 | 5185.8502
423 | 5200.8958
424 | 5215.9526
425 | 5231.0206
426 | 5246.1
427 | 5261.1908
428 | 5276.293
429 | 5291.4067
430 | 5306.5318
431 | 5321.6685
432 | 5336.8167
433 | 5351.9765
434 | 5367.148
435 | 5382.3311
436 | 5397.5258
437 | 5412.7323
438 | 5427.9505
439 | 5443.1805
440 | 5458.4222
441 | 5473.6757
442 | 5488.941
443 | 5504.218
444 | 5519.5069
445 | 5534.8076
446 | 5550.1202
447 | 5565.4445
448 | 5580.7807
449 | 5596.1287
450 | 5611.4886
451 | 5626.8602
452 | 5642.2437
453 | 5657.639
454 | 5673.0461
455 | 5688.465
456 | 5703.8957
457 | 5719.3381
458 | 5734.7923
459 | 5750.2582
460 | 5765.7358
461 | 5781.2251
462 | 5796.7261
463 | 5812.2387
464 | 5827.7629
465 | 5843.2987
466 | 5858.8461
467 | 5874.405
468 | 5889.9753
469 | 5905.5571
470 | 5921.1503
471 | 5936.755
472 | 5952.3709
473 | 5967.9981
474 | 5983.6366
475 | 5999.2863
476 | 6014.9472
477 | 6030.6192
478 | 6046.3022
479 | 6061.9963
480 | 6077.7013
481 | 6093.4173
482 | 6109.1441
483 | 6124.8817
484 | 6140.63
485 | 6156.389
486 | 6172.1587
487 | 6187.9389
488 | 6203.7296
489 | 6219.5308
490 | 6235.3423
491 | 6251.1641
492 | 6266.9962
493 | 6282.8384
494 | 6298.6907
495 | 6314.5531
496 | 6330.4254
497 | 6346.3075
498 | 6362.1995
499 | 6378.1012
500 | 6394.0125
501 | 6409.9334
502 | 6425.8638
503 | 6441.8036
504 | 6457.7527
505 | 6473.711
506 | 6489.6785
507 | 6505.655
508 | 6521.6406
509 | 6537.635
510 | 6553.6382
511 | 6569.6502
512 | 6585.6707
513 | 6601.6998
514 | 6617.7374
515 | 6633.7832
516 | 6649.8374
517 | 6665.8996
518 | 6681.9699
519 | 6698.0482
520 | 6714.1344
521 | 6730.2283
522 | 6746.3298
523 | 6762.4389
524 | 6778.5555
525 | 6794.6794
526 | 6810.8106
527 | 6826.9489
528 | 6843.0942
529 | 6859.2465
530 | 6875.4056
531 | 6891.5715
532 | 6907.7439
533 | 6923.9228
534 | 6940.1082
535 | 6956.2998
536 | 6972.4976
537 | 6988.7014
538 | 7004.9112
539 | 7021.1268
540 | 7037.3481
541 | 7053.5751
542 | 7069.8075
543 | 7086.0453
544 | 7102.2884
545 | 7118.5366
546 | 7134.7899
547 | 7151.048
548 | 7167.311
549 | 7183.5786
550 | 7199.8507
551 | 7216.1273
552 | 7232.4083
553 | 7248.6934
554 | 7264.9826
555 | 7281.2757
556 | 7297.5727
557 | 7313.8733
558 | 7330.1776
559 | 7346.4853
560 | 7362.7964
561 | 7379.1107
562 | 7395.4281
563 | 7411.7484
564 | 7428.0717
565 | 7444.3976
566 | 7460.7261
567 | 7477.0571
568 | 7493.3905
569 | 7509.726
570 | 7526.0637
571 | 7542.4034
572 | 7558.7449
573 | 7575.0881
574 | 7591.4329
575 | 7607.7792
576 | 7624.1268
577 | 7640.4756
578 | 7656.8256
579 | 7673.1764
580 | 7689.5282
581 | 7705.8806
582 | 7722.2336
583 | 7738.5871
584 | 7754.9409
585 | 7771.295
586 | 7787.6491
587 | 7804.0031
588 | 7820.357
589 | 7836.7106
590 | 7853.0637
591 | 7869.4163
592 | 7885.7682
593 | 7902.1193
594 | 7918.4695
595 | 7934.8186
596 | 7951.1666
597 | 7967.5132
598 | 7983.8584
599 | 8000.202
600 | 8016.544
601 | 8032.8842
602 | 8049.2224
603 | 8065.5586
604 | 8081.8926
605 | 8098.2243
606 | 8114.5535
607 | 8130.8803
608 | 8147.2043
609 | 8163.5256
610 | 8179.8439
611 | 8196.1593
612 | 8212.4715
613 | 8228.7804
614 | 8245.0859
615 | 8261.3879
616 | 8277.6862
617 | 8293.9809
618 | 8310.2716
619 | 8326.5584
620 | 8342.8411
621 | 8359.1195
622 | 8375.3936
623 | 8391.6633
624 | 8407.9284
625 | 8424.1888
626 | 8440.4445
627 | 8456.6952
628 | 8472.9409
629 | 8489.1815
630 | 8505.4169
631 | 8521.6469
632 | 8537.8714
633 | 8554.0904
634 | 8570.3037
635 | 8586.5112
636 | 8602.7128
637 | 8618.9084
638 | 8635.098
639 | 8651.2813
640 | 8667.4583
641 | 8683.6289
642 | 8699.793
643 | 8715.9504
644 | 8732.1012
645 | 8748.2451
646 | 8764.3821
647 | 8780.5121
648 | 8796.635
649 | 8812.7507
650 | 8828.8591
651 | 8844.9601
652 | 8861.0537
653 | 8877.1396
654 | 8893.2179
655 | 8909.2884
656 | 8925.351
657 | 8941.4058
658 | 8957.4525
659 | 8973.4911
660 | 8989.5215
661 | 9005.5436
662 | 9021.5573
663 | 9037.5627
664 | 9053.5594
665 | 9069.5476
666 | 9085.5272
667 | 9101.4979
668 | 9117.4598
669 | 9133.4129
670 | 9149.3569
671 | 9165.2919
672 | 9181.2178
673 | 9197.1345
674 | 9213.0419
675 | 9228.94
676 | 9244.8287
677 | 9260.7079
678 | 9276.5776
679 | 9292.4378
680 | 9308.2883
681 | 9324.1291
682 | 9339.9601
683 | 9355.7813
684 | 9371.5927
685 | 9387.3941
686 | 9403.1856
687 | 9418.9671
688 | 9434.7384
689 | 9450.4997
690 | 9466.2508
691 | 9481.9916
692 | 9497.7223
693 | 9513.4426
694 | 9529.1526
695 | 9544.8522
696 | 9560.5414
697 | 9576.2202
698 | 9591.8885
699 | 9607.5463
700 | 9623.1935
701 | 9638.8302
702 | 9654.4563
703 | 9670.0717
704 | 9685.6765
705 | 9701.2707
706 | 9716.8542
707 | 9732.4269
708 | 9747.989
709 | 9763.5403
710 | 9779.0809
711 | 9794.6107
712 | 9810.1298
713 | 9825.638
714 | 9841.1355
715 | 9856.6222
716 | 9872.0982
717 | 9887.5633
718 | 9903.0177
719 | 9918.4612
720 | 9933.894
721 | 9949.3161
722 | 9964.7274
723 | 9980.1279
724 | 9995.5177
725 | 10010.8968
726 | 10026.2652
727 | 10041.6229
728 | 10056.9699
729 | 10072.3064
730 | 10087.6322
731 | 10102.9474
732 | 10118.2521
733 | 10133.5463
734 | 10148.8299
735 | 10164.1032
736 | 10179.366
737 | 10194.6184
738 | 10209.8606
739 | 10225.0924
740 | 10240.314
741 | 10255.5255
742 | 10270.7268
743 | 10285.918
744 | 10301.0992
745 | 10316.2704
746 | 10331.4317
747 | 10346.5832
748 | 10361.7249
749 | 10376.8569
750 | 10391.9793
751 | 10407.0921
752 | 10422.1954
753 | 10437.2893
754 | 10452.3739
755 | 10467.4492
756 | 10482.5153
757 | 10497.5724
758 | 10512.6204
759 | 10527.6596
760 | 10542.69
761 | 10557.7116
762 | 10572.7247
763 | 10587.7292
764 | 10602.7253
765 | 10617.7132
766 | 10632.6928
767 | 10647.6644
768 | 10662.628
769 | 10677.5838
770 | 10692.5318
771 | 10707.4723
772 | 10722.4053
773 | 10737.3309
774 | 10752.2493
775 | 10767.1606
776 | 10782.065
777 | 10796.9625
778 | 10811.8534
779 | 10826.7378
780 | 10841.6158
781 | 10856.4876
782 | 10871.3533
783 | 10886.213
784 | 10901.0671
785 | 10915.9155
786 | 10930.7584
787 | 10945.5962
788 | 10960.4288
789 | 10975.2564
790 | 10990.0794
791 | 11004.8977
792 | 11019.7117
793 | 11034.5214
794 | 11049.3272
795 | 11064.1291
796 | 11078.9273
797 | 11093.7222
798 | 11108.5137
799 | 11123.3023
800 | 11138.088
801 | 11152.8711
802 | 11167.6517
803 | 11182.4302
804 | 11197.2067
805 | 11211.9814
806 | 11226.7546
807 | 11241.5265
808 | 11256.2973
809 | 11271.0672
810 | 11285.8366
811 | 11300.6055
812 | 11315.3744
813 | 11330.1433
814 | 11344.9126
815 | 11359.6826
816 | 11374.4534
817 | 11389.2254
818 | 11403.9987
819 | 11418.7737
820 | 11433.5507
821 | 11448.3299
822 | 11463.1115
823 | 11477.8959
824 | 11492.6834
825 | 11507.4741
826 | 11522.2686
827 | 11537.0669
828 | 11551.8694
829 | 11566.6764
830 | 11581.4883
831 | 11596.3053
832 | 11611.1277
833 | 11625.9558
834 | 11640.79
835 | 11655.6306
836 | 11670.4779
837 | 11685.3322
838 | 11700.1939
839 | 11715.0633
840 | 11729.9408
841 | 11744.8266
842 | 11759.7212
843 | 11774.6248
844 | 11789.5379
845 | 11804.4608
846 | 11819.3938
847 | 11834.3373
848 | 11849.2917
849 | 11864.2574
850 | 11879.2347
851 | 11894.224
852 | 11909.2257
853 | 11924.2402
854 | 11939.2679
855 | 11954.3092
856 | 11969.3644
857 | 11984.4339
858 | 11999.5183
859 | 12014.6178
860 | 12029.733
861 | 12044.8641
862 | 12060.0117
863 | 12075.1762
864 | 12090.358
865 | 12105.5575
866 | 12120.7751
867 | 12136.0114
868 | 12151.2668
869 | 12166.5416
870 | 12181.8364
871 | 12197.1516
872 | 12212.4877
873 | 12227.8452
874 | 12243.2244
875 | 12258.626
876 | 12274.0503
877 | 12289.4979
878 | 12304.9692
879 | 12320.4647
880 | 12335.985
881 | 12351.5305
882 | 12367.1017
883 | 12382.6991
884 | 12398.3233
885 | 12413.9748
886 | 12429.654
887 | 12445.3616
888 | 12461.098
889 | 12476.8638
890 | 12492.6594
891 | 12508.4855
892 | 12524.3427
893 | 12540.2313
894 | 12556.1521
895 | 12572.1055
896 | 12588.0922
897 | 12604.1126
898 | 12620.1675
899 | 12636.2572
900 | 12652.3825
901 | 12668.5439
902 | 12684.742
903 | 12700.9774
904 | 12717.2507
905 | 12733.5625
906 | 12749.9134
907 | 12766.304
908 | 12782.735
909 | 12799.2069
910 | 12815.7205
911 | 12832.2762
912 | 12848.8748
913 | 12865.5169
914 | 12882.2032
915 | 12898.9342
916 | 12915.7107
917 | 12932.5333
918 | 12949.4027
919 | 12966.3195
920 | 12983.2844
921 | 13000.2982
922 | 13017.3614
923 | 13034.4748
924 | 13051.639
925 | 13068.8548
926 | 13086.1228
927 | 13103.4439
928 | 13120.8186
929 | 13138.2477
930 | 13155.7319
931 | 13173.2719
932 | 13190.8686
933 | 13208.5225
934 | 13226.2345
935 | 13244.0054
936 | 13261.8357
937 | 13279.7264
938 | 13297.6781
939 | 13315.6917
940 | 13333.7679
941 | 13351.9075
942 | 13370.1113
943 | 13388.38
944 | 13406.7144
945 | 13425.1154
946 | 13443.5838
947 | 13462.1203
948 | 13480.7258
949 | 13499.401
950 | 13518.1469
951 | 13536.9642
952 | 13555.8537
953 | 13574.8164
954 | 13593.853
955 | 13612.9644
956 | 13632.1515
957 | 13651.415
958 | 13670.756
959 | 13690.1752
960 | 13709.6735
961 | 13729.2518
962 | 13748.911
963 | 13768.6519
964 | 13788.4756
965 | 13808.3828
966 | 13828.3745
967 | 13848.4516
968 | 13868.615
969 | 13888.8657
970 | 13909.2045
971 | 13929.6324
972 | 13950.1503
973 | 13970.7593
974 | 13991.4602
975 | 14012.2539
976 | 14033.1415
977 | 14054.124
978 | 14075.2022
979 | 14096.3772
980 | 14117.65
981 | 14139.0215
982 | 14160.4928
983 | 14182.0648
984 | 14203.7385
985 | 14225.515
986 | 14247.3953
987 | 14269.3804
988 | 14291.4713
989 | 14313.6691
990 | 14335.9748
991 | 14358.3895
992 | 14380.9142
993 | 14403.5499
994 | 14426.2978
995 | 14449.1588
996 | 14472.1342
997 | 14495.2249
998 | 14518.432
999 | 14541.7567
1000 | 14565.2
1001 | 14588.7631
1002 | 14612.447
1003 | 14636.2528
1004 | 14660.1818
1005 | 14684.235
1006 | 14708.4135
1007 | 14732.7185
1008 | 14757.1512
1009 | 14781.7127
1010 | 14806.4041
1011 | 14831.2266
1012 | 14856.1814
1013 | 14881.2697
1014 | 14906.4926
1015 | 14931.8514
1016 | 14957.3472
1017 | 14982.9812
1018 | 15008.7546
1019 | 15034.6687
1020 | 15060.7247
1021 | 15086.9237
1022 | 15113.2671